## ANNUAL M&R
BILL OF QUANTITY FOR ANNUAL M&R OF M.D. OFFICE, INSPECTION HOUSE AND
VIDYUT NAGAR HYDEL COLONY, MANDUADIH, VARANASI.
Sl. | ITEM OF WORKS | UNIT | QUANTITY | RATE | AMOUNT
1 | 2 | 3 | 4 | 5 | 6
1 | Excavation in foundation in ordinary soil (loam clay or sand) including lift upto 1.5 meter (5ft) and lead upto 30 meter (100 ft.) and including filling , watering, and ramming of excavated earth into the trenches or into the space between the building and the side of the foundation trenches or into the plinth and removal and disposal of surplus earth as directed by the Engineer-in-charge upto a distance of 30 Meters (100Ft.) from the foundation trenches.(C.S.I. No 4.01) | Cum. | 50 | 133 | 6650
2 | Cleaning of grass and removal of rubbish upto a distance of 50 M.outside the UPPCL area cleared.(C.S.I. No 4.09) | Sqm | 500 | 2 | 1000
3 | Cement concrete with 2 cm. gauge approved hard stone ballast, approved coarse sand ( F.M. 1.8 to 2.5) and cement in the proportion 4:2:1 including supply of all materials, labour and T&P etc. required for proper completion of the work. (C.S.I. NO. 5.06) | Cum. | 10 | 6386 | 63860
4 | 1st Class brick ( Class-150) work in 1:6 cement and coarse sand ( F.M. 1.8 to 2.5) mortar in foundation and plinth including supply of all materials, labour and T&P etc. required for proper completion of the work. (C.S.I. No.6.01) | Cum. | 5 | 5205 | 26025
5 | Same as in item no. 4 above B.W. in 1:6 in super structures but for wall one brick (230mm) thick (C.S.I. No. 6.01+6.07+6.08) | Cum. | 5 | 5763 | 28815
6 | Same as in item no. 4 above but Wall half brick width 1:4 cement mortar(C.S.I. No. 6.03+6.07+6.08+6.09) | Cum. | 6 | 6345 | 38070
7 | Levelling and dressing and making proper slopes including cutting and filling of earth up to a depth 100mm if so required including all labour T&P etc. required for proper completion of work. (CSI No. 4.11) | Sqm | 100 | 3 | 300
8 | Local sand filling in plinth including supply of necessary quanity of local sand from outside the UPPCL premises including watering , dressing etc. Rate to include cost of all material, labour and T&P etc. required for proper completion of work. (CSI No. 4.05) | Cum. | 10 | 587 | 5870
9 | Clearing jungle including uprooting of rank vegetations, grass, bush, wood, trees and saplings of girth up to 30cm measured at a height of 1.0m above ground level and removal of rubbish up to a distance of 50 cm outside the periphery of UPPCL ara cleared. (CSI No. 4.08) | Sqm | 100 | 5 | 500
10 | Earth filling under floors and/ or sub station area including cost of earth when obtatined from outside UPPCL area including its roylty and carriage including watering, ramming in 20cm layers and dressing of earth etc. all complete.(CSI No. 4.10) | Cum. | 10 | 349 | 3490
11 | Concrete with 4cm gauge stone ballast coarse sand ( F.M. 1.8 to 2.5) & cement in proportion of 12:6:1 in foundation & under floors including supply of all materials, labour and T&P etc. required for proper completion of work.(CSI No. 5.02) | Cum. | 5 | 4167 | 20835
12 | Precast cement concrete door sills, chaukhats boundary posts, shelves and similar small work with cement approved coarse sand ( F.M. 1.8 to 2.5) and 2cm gauge graded approved hard stone ballast in the proportion 1:1.5:3 excluding reinforcement but including fixing the same in position including coat of all other materials, labour and T&P (CSI No. 5.22) | Cum. | 1 | 8237 | 8237
13 | RCC work with cement approved coarse sand (F.M. 1.8 to 2.5) and 2cm gauge graded approved hard stone ballast like grainite, quartzite etc from Dalla, Jhansi or other quarries and approved coarse sand in proportion 1:15.;3 in lintels of doors and windows, excluding supply of reinforcement & its bending but including its fixing and binding the same witn binding wire, including cost of all other materials labour and T&P.(CSI No. 5.24) | Cum. | 1 | 9117 | 9117
14 | RCC work with cement approved coarse sand (F.M. 1.8 to 2.5) and 2cm gauge graded approved hard stone ballast like grainite, quartzite etc from Dalla, Jhansi or other quarries and approved coarse sand in proportion 1:15.;3 in lintels beams i.e. having span up to 6m, , excluding supply of reinforcement & its bending but including its fixing and binding the same witn binding wire, including cost of all other materials labour and T&P.(CSI No. 5.25) | Cum. | 2 | 9806 | 19612
15 | First class brick ( class 150) laid dry in foundation and plinth as in circlar soakpit walls of one thickness and 2.0 to 3.0M depth including cutting moulding bricks as required including cost of all material, labour and T&P complete.(CSI No. 6.16) | Cum. | 2 | 4749 | 9498
16 | Brick work in foundation & plinth with old dismantled brick (supplied by department free of cost) and coarse sand of F.M.1.5M to 2.0 mortar in 1:6 including supply of all other materials, labour removing mortar & cleaning of old& used bricks, T&P etc complete. (CSI 6.18) | Cum. | 3 | 2213 | 6639
17 | Removal of cement mortar from dismenttled brick and stacking in countable position at place as directed by E/I., including cost of all labour and T&P required for peoper complete of work. (CSI No. 6.22) | Cum. | 1 | 989 | 989
18 | Supply and filling brick bat in soak pit including all labour, material and T&P etc complete (CSI No. 6.23) | Cum. | 1 | 1218 | 1218
19 | Indian Shishum wood wrought framed and fixed including simple, mouldings straight work as in Chaukhats including supply of all materials, labour and T&P etc. required for proper completion of the work.(CSI No. 8.02). | Cum. | 0.5 | 74879 | 37439.5
20 | Indian Sal wood wrought framed and fixed including simple,mouldings straight work as in Chaukhats including supply of all materials, labour and T&P etc. required for proper completion of the work.( CSI No. 8.03) | Cum. | 0.5 | 78180 | 39090
21 | P/F fully Anodized aluminium fixed glazing with HINDLCO or equivalent extruded standard section 14 gauge ( 2.41mm thick) of various cross sections and joints miltred and jointed as shown in drawing including providing & fixing 5.5 mm thick toughened glass with Neoprene beading & aluminium glazing clips all around. The minium thickness of anodizing on all aluminium sections should be 20 micrions with a (+2) microns toterance.The rate should include the cost of fixing the aluminium frame on Teak wood frame or finished wall (RB/RCC) /Masonry) surface by means of 80mm long approved counter sunk screws provided at 500mm C/C or part there of starting from 100mm above the bottom in vertical member and 100 mm from both the ends of horizontal top and bottom member excluding cost of Teak frame but including cost of all materials, labour T&P etc. complete.(CSI.No.8.52) | Sqm | 5 | 4713 | 23565
22 | Same as item No. 21 but for openable gate /door portion as shown in drawings including cost of hinges and Aluminium fittings tower bolts, handles, stoppers, puch plates, brass body with brass component 6 levers cocealed lock etc of heavy & approved quality and including cost of all other materials, labour and T&P etc. complete.(CSI.NO.8.54) | Sqm | 3 | 5126 | 15378
23 | Same as item No. 21 but for openable window portion as shown in drawings including cost of hinges and Aluminium hinges and all other fitting like concealed tower bolts, handles, stoppers, puch plates, brass body with brass component 6 levers cocealed lock etc of heavy & approved quality and including cost of all other materials, labour and T&P etc. complete.(CSI.NO.8.53) | Sqm | 3 | 5663 | 16989
24 | Supply and fixing 32mm thick single leaf flush door shutter (boiled water resistance, phenol maldehide resin bonded, hot pressed factory made) commercial quality to I.S. 2202 part-1 (1983) ISI marked including fixing of wooden cleats and stopers and including fixing and adjustment of hinges, bolts, handles, springs and other fittings but excluding their supply including all material, labout and T&P etc. required for proper completion of work. (CSI No. 8.57) | Sqm | 5 | 1559 | 7795
25 | Supply and fising brass polished hydreaulic door cloure of approved make & quality its fixing and adjustement with the help of screws, unts and bolts including supply of all labour, T&P etc. required for proper completion of the work. (CSI No. 8.60) | No. | 5 | 1216 | 6080
26 | Supplying & fixing 24 gauge annodized aluminium sheet of approved quality including cutting, wastage and fixing the same over the wooden door shutters with nails with all material, labour and T&P . (CSI No. 8.63) | Sqm | 5 | 388 | 1940
27 | TMT/Tor steel in plain work such as reinforced concrete or reinforced brick work. (when not included in over all rates) wrought to required shape as necessary including bending for proper completion of the work and including supply of steel, its wastage, bend, hooks, and authorized overlapping shall be measured.(C.S.I. No. 9.03 ) | Qtl. | 2 | 6545.2 | 13090.4
28 | Mild steel or iron work in heavy sizes such as trusses built-up gates, door frames, record, racks, roof work, gates etc. wrought to required form including holes rivetting or welding where necessary and also fixing in proper position and alignment including cost of all materials supplied by contractor (CSI No. 9.01 ) | Qtl. | 5 | 7491.9 | 37459.5
29 | Providing Barbed iron wire fencing including fixing in post after straghiting it including labour, materials and T & P etc. required for proper completion of the work but excluding supply of posts and wire (Labour rate only) .(C.S.I. No. 9.06) | Rm | 10 | 2.4 | 24
30 | Providing and fixing barbed iron wire fencing including stretching fising in to the post including all labour, material and T&P required for proper completion of work the weight of hot dipped GI barbed wire having 12 SWG-2 ply wires and 4 point ordinary barbs @ 150mm (approx C/C should be 100 gm per meter ).(C.S.I. No. 9.07 | Rm | 10 | 11 | 110
31 | P/F steel glazed window and ventilators of standard rolied Mann or Mahavir steel sections conforming to IS 7452-1974 as per drawing joints metered & welded with 100x14x3.15mm holdfast embedded in cement concrete block 15x10x10 cm .Size of 1:3:6 Proportion I.E. First part of cement 3 part of approved coarse sand & 6 part of graded stone ( aggregated 20mm. Norminal size) S/F of glass panes of plain pin headed 4mm. Thik nuts glazing clips and special putty of approved make complete and including a cost of red oxide paint. The farication should conform to I.S. 1038-1975 ( Aluminum beading with rubber packing included) (CSI N0. 9.17) | Sqm. | 5 | 3828 | 19140
32 | Supply and fixing glavanised mosquito proof jali (16x24 gauge ) with M.S. flat of 20x3 mm. size, on both sides screwed or welded to window or door frame (CSI No.9.18) | Sqm. | 10 | 582 | 5820
33 | Supply and fixing welded wire mesh size 75x25mm and rectangular made out of 10 SWG over M.S. angle frame with M.S. flat with nut and bolt welded as required including cost of drilling holes, bolts, nuts, washer wilding etc as required including cost of all materials, labour and T&P etc. required for peopre completin of work. exept cost of Angle iron flat (rates may be increased maximum by 10% in remote area by E/I after verifying market rates of welded nesh, above anolysis best on rates of welded mesh of R. 100.00/Sqm.(C.S.I.No.9.22) | Sqm | 5 | 370 | 1850
34 | P/F Conertina coilfencing with required dia. 600mm up to 3M height of wall between existing angle iron 'Y' shaped 2.4M or 3.0M aprt and with horizontal R.B.T. stud tied with G.I staples and G.I. clips to retain horizontal including necessary golts or G.I. barbed wire tied to angle iron all complete (No. of round will be 7 to 8 in one Meter length) as per direction of E/I with reinforced barbed tape (R.B.T.)/Spring core (2.5mm thick) wire of high tensile strength of 165 kg/Sqmm with tape ( 0.52mm thick) of supreme make or equivalent and weight 43.478gm/meter( cost of MS angle C.C. block shall be paid separately.(CSI.No.9.37) | Rm | 5 | 333 | 1665
35 | Supply and fixing 24 B.W.G., G.C. Iron sheet roofing fixed in position with J or U bolts 10mm. Dia with G.I. Limpet & bitumen washers including supply of all materials, labour,wastage and T&P etc. required for proper completion of the work.(CSI No. 10.01) | Sqm | 5 | 605 | 3025
36 | Supply and fixing 22 B,W.G. Galavized iron Ridges valley and gutters for roofing fixed with J or U bolts 10mm dia with G.I. Limpet & bitumen washers including supply of all materials, labour , wastage and T&P etc. required for proper completion of the work. (CSI No. 10.02) | Sqm | 5 | 415 | 2075
37 | Struck Painting with cement mortar consisting of 1 part cement and 2 part of coarse sand on brick work walls including supply of all materials, labour and T&P etc. required for proper completion of work. (CSI No. 11.01) | Sqm | 2 | 177 | 354
38 | Same as item No. 37 above but flush pointing deduct from item. N0.11.01 (CSI No. 11.02) | Sqm | 3 | 26 | 78
39 | Same as item no.37 .above but in floors, deduct from item no.11.01 & 11.02 (CSI No. 11.03) | Sqm | 5 | 29 | 145
40 | 12mm thick plaster with cement mortar consisting of one part of cement and three part of coarse sand (1:3) minimum thickness not to be less then 10mm including supply of all material, labour and T&P etc. for proper completion of work. (CSI No. 11.06) | Sqm | 20 | 175 | 3500
41 | 12mm thick plaster with cement mortar consisting of one part of cement and four part of coarse sand (1: 4) minimum thickness not to be less then 10mm including supply of all material, labour and T&P etc. for proper completion of work. (CSI No. 11.07) | Sqm | 50 | 158 | 7900
42 | 12mm thick plaster with cement mortar consisting of one part of cement and five part of coarse sand (1:6) minimum thickness not to be less then 10mm including supply of all material, labour and T&P etc. for proper completion of work. (CSI No. 11.09) | Sqm | 100 | 148 | 14800
43 | Add for extra labour and materials for plaster over rough face of one brick thick wall. (CSI No. 11.12) | Sqm | 20 | 20 | 400
44 | S/mixing of Dr. fixit in cement including supply of all materials, labour and T&P etc. complete in all respect as directed by E/I(NSI) | Ltr | 2 | 124.85 | 249.7
45 | Making drip course (25x12) mm in 1:2 cement and course sand including supply of all material, labour and T&P etc. required for proper completion of the work. (CSI No. 11.19) | Rmt | 10 | 10 | 100
46 | 3 mm thick floating coat of neat cement finish including supply of all material, labour and T&P etc. required for proper completion of the work. (Cement consumtion 0.044bag/Sqm.) (CSI No. 11.20) | Sqm. | 100 | 21 | 2100
47 | 2.5 cm thick 1:2:4 plain without CC cement cocrete floor with cement, approved coarse sand & 2cm graded approved stone ballast laid in panels finished with 3mm floating coat of neat cement and marble dust in ratio of 5:1 as specified and removing any overlapping mortar at the joints of the panels if any giving them uniform finish ncluding supply of all material, labour and T&P etc. required for proper completion of the work. without base CC (CSI No. 12.02) | Sqm. | 20 | 249 | 4980
48 | 4.0 cm thick 1:2:4 plain cement cocrete floor with cement, approved coarse sand & 2cm graded approved stone ballast laid in panels finished with 3mm floating coat of neat cement and marble dust in ratio of 5:1 as specified and removing any overlapping mortar at the joints of the panels if any giving them uniform finish ncluding supply of all material, labour and T&P etc. required for proper completion of the work. without base CC (CSI No. 12.04) | Sqm. | 10 | 375 | 3750
49 | Ist class brick on edge floor laid dry joints sand filled. Including preparation of base to proper slope and its ramming including supply of labour T&P etc. required for proper completion of the work. (C.S.I. No. 12.07) | Sqm. | 20 | 558 | 11160
50 | Ist class brick laid flat joints sand filled. Including preparation of base to proper slope and its ramming including supply of labour T&P etc. required for proper completion of the work. (C.S.I. No. 12.08) | Sqm. | 10 | 378 | 3780
51 | Supply and Laying 8 mm thick glazed floor tiles of Somany, Johnson or equivalent make, of size 300x300 mm laid with 1:3 cement and approved coarse sand mortar finishing with white cement slurry, jointing and polishing and complete, including supply of labour T&P etc. required for proper completion of the work. (C.S.I. No. 12.11) | Sqm. | 20 | 1165 | 23300
52 | Supply and Laying 6 mm thick glazed tiles of of size 3200x300 mm in skirting/dado laid with 1:3 cement and approved coarse sand mortar finishing with white cement slurry, jointing and polishing and complete, including supply of labour T&P etc. required for proper completion of the work. (C.S.I. No. 12.12) | Sqm. | 10 | 1000 | 10000
53 | Providing and fixing glass strips of 3.15 mm thickness & 25mm depth in joints of floor and skriting at the time of laying floors, flush with floor level including supply of labour T&P etc. required for proper completion of the work. (C.S.I. No. 12.13) | Rm | 20 | 25 | 500
54 | Providing and fixing glass strips of 3.15 mm thickness & 40mm depth in joints of floor and skriting at the time of laying floors, flush with floor level including supply of labour T&P etc. required for proper completion of the work. (C.S.I. No. 12.14) | Rm | 10 | 28 | 280
55 | First class brick on edge floor laid in cement mortar consisting of one part of cement and six parts of coarse sand and pointed with cement mortar 1:2 over and including supply of labour T&P etc. required for proper completion of the work. (C.S.I. No. 12.15) | Sqm. | 25 | 644 | 16100
56 | First class brick laid flat in cement mortar consisting of one part of cement and six parts of coarse sand and pointed with cement mortar 1:2 over and including supply of labour T&P etc. required for proper completion of the work. (C.S.I. No. 12.16) | Sqm. | 5 | 486 | 2430
57 | Providing and laying 20mm thick Kota stone in flooring or skirting over base cement mortar 1:4 mix and jointed with grey cement slurry mixed with pigment to match the shade of slab including rubbing and polishing complete and including supply of labour T&P etc. required for proper completion of the work. (C.S.I. No. 12.17) | Sqm. | 20 | 974 | 19480
58 | Providing and laying floor of 10mm thick vitrified tiles in flooring or skirting of approved brand ( Bell, Johnson or equil, make) size of 600x600mm of approved shade, clour and pattern, laid over base cement mortar 1:4 mix icluding finishing the joints with white cement mixed with pigment to match the shade of tile including cost of all material, labour and T&P required for proper completion of the work.( CSI No. 12.18) | Sqm | 10 | 1368 | 13680
59 | Same as item no. 58 above but for fixing 10mm thick vitrified tiles in flooring or skirting with adhesive of approved quality on existing smooth floor including cost of all materials, labour and T&P required for proper completion of the work.(CSI No. 12.19) | Sqm | 5 | 1040 | 5200
60 | Providing and laying of 20mm thick granite ( black, brwon) in flooring skirting approved shade, colour, size and pattern, laid over base cement, mortar 1:4 mix including finishing the joints with white cement mixed with pigment to match the shade of granite floor including cost of all materials, labour and T&P required for prover completion of the work, as per direction of E/I. (CSI No. 12.20) | Sqm | 5 | 2873 | 14365
61 | Supply of 80mm thick I shaped machanically conpressed inter locking cement concrete paver block manufactured by high pressure & controlled vibration machine having plan dimesion 200x (160+120) with miximum 5mm thick toping of O.P. Cement mixed with 25% marble powder. The compressive strength of concrete pavers block shall not be less than 30 MPa & 4.5Kg/No. including cost of all material, labour and , T&P etc. required for proper completion of work as directed by E/I but execluding U.P.T.T. which shall be paid extra as per rules. (CSI No. 12.23) | Sqm | 10 | 645 | 6450
62 | Painting or varnishing new iron works or new wood work with one coat of ready mixed priming paint and two coats of approved superior quality ready mixed paint LUXOL or equivalent brand or varnish including supply of all materials, labour& T&P etc. required for proper completion of the work (C.S.I. No. 13.01+13.02) | Sqm. | 100 | 97 | 9700
63 | Same as item No. 62 above but for every coat on previously painted old wood or iron work including its sand papering , rubbing and leaning as required, for proper completion of work.(CSI No. 13.03) | Sqm. | 50 | 43 | 2150
64 | Removing paint or varnish with paint remover or with caustic soda including supply of all materials, labour and T&P etc. required for proper completion of the work. ( CSI No. 13.07) | Sqm. | 10 | 75 | 750
65 | Wax polishing new wood work with approved ready made wax polish or approved frech polish after rubbing down with sand paper including supply of all labour, materials and T&P etc required for proper completion of work. (CSI No. 13.15) | Sqm. | 10 | 54 | 540
66 | Applying Birla or equivalent putty on new interior or exterior surface over one coat of water based cement primer of ICI or equivalent brand for smoothening and levelling of the surface as per required and direction of E/I including cost of all material, labour and T&P etc. required for proper completion of work. (CSI No. 13.20) | Sqm. | 500 | 77 | 38500
67 | Painting two coat with Acrylic emulsion paint of Berger /Asian/ICI or equivalent paint (paint and water in the ratio 1:1 by volume) over prepared and primed surface of cement plaster and brick including all labour, material and T&P etc required for proper completion plaster and brick including all labour,material and T&P etc required for proper completion of the work (preparation of base wtih Birta putty etc. and a coating of primer shall be paid extra .(C.S.I.No. 13.25+13.26) | Sqm. | 1000 | 106 | 106000
68 | Spirit polish over new wood work after rubbing down the surface with sand paper to give smooth and shining surface including cost of all material, labour & T&P etc. required for proper completion of the work. (CSI No. 13.29) | Sqm. | 10 | 104 | 1040
69 | Spirit polish over previously polished wood surface after rubbing down the surface with sand paper to give smooth and shining surface including cost of all material, labour & T&P etc. required for proper completion of the work. (CSI No. 13.30) | Sqm. | 15 | 69 | 1035
70 | White washing three coat including supply of all material, labour and T&P etc. required for proper completion of the work.(CSI No. 14.03) | Sqm. | 100 | 14 | 1400
71 | Dismantling brick work or stone work in lime or cement mortar and including stacking of materials as directed by the Engineer-in-charge within a distance of 60 meters. (200 ft.)(C.S.I. No.15.01) | Cum | 5 | 389 | 1945
72 | Dismantling reinforced cement or reinforced brick work including stacking of materials as directed by the Engineer-in-charge within a distance of 60 meters. (200 ft.)(C.S.I. No.15.03) | Cum | 3 | 875 | 2625
73 | Dismantling cement concrete or brick or granolithic floor including stacking of dismantled materials as directed by the Engineer-in-charge with a distance of 60 meters (200 ft.)(C.S.I. No. 15.05) | Sqm | 50 | 44 | 2200
74 | Same as item no73 above but for floors to be stone flaged or tiled floor.(CSI No. 15.06) | Sqm | 50 | 59 | 2950
75 | Dismantling corrugated iron & asbastas roof sheet and stacking of material s directed by E/I. within a distance of 60 mtrs.(CSI No. 15.07) | Sqm | 5 | 37 | 185
76 | Dismantling of doors or window leaves including stacking of materials as directed by the E/I. within a distance of 60M.(CSI No. 15.09) | Sqm | 5 | 27 | 135
77 | Dismantling of doors or window chowkhats including stacking of materials as directed by the E/I. within a distance of 60M.(CSI No. 15.10) | Sqm | 20 | 57 | 1140
78 | Dismantling existing plaster including disposal of refuse as directed by the E/I. within a distance of 60M.(CSI No. 15.11) | Sqm | 50 | 32 | 1600
79 | Scrapping old white or colour wash or distemper including disposal of refuse as directed by the E/I. within a distance of 60M.(CSI No. 15.12) | Sqm | 1000 | 10 | 10000
80 | Dismentling of dry B.O.E. Floor and proper stacking of dismantlied bricks as per direction of E/C. up to 60M lead (CSI No. 15.16) | Sqm | 20 | 107 | 2140
81 | Same as item no 80 above but for flat brick soiling .(CSI No. 15.17) | Sqm | 25 | 80 | 2000
82 | Dismentling any re-laying of dry B.O.E. floor including cost of all labour and T&P required for proper completion of work.( labour rates only) (CSI No. 15.18) | Sqm | 20 | 235 | 4700
83 | Same as item no 82 above but for flat brick soling .(CSI No. 15.19) | Sqm | 20 | 174 | 3480
84 | Pre-Construction anti-termite treatment, by breating a barrier under and around the coloumns pits, foundation trenches, under floors, junctions of walls & floors, around the external perimetre of building, expansion, joints, surrounding of pipes and coduits etc.(Plinth area of the building at ground floor only shall be measured as per I.S. 6313 ( Part II 1981 ) with Aldine exulsifiable 0.2% concentration or any other approved material such as Heptachlore or chlordance will be used. The consumption of emulsion shall be (i) Foundation and masonary @ 5 Ltrs /Sqm (ii) Back fills in immediate contact of foundation@ 7.5 Ltrs/Sqm ((iii) Top surface of plinth filling @ 5 Ltrs/Sqm,(iv) junction of walls & floors @ 7.5 Ltrs/Sqm (v) Soil along extermal perlimetre of building @ 7.5 Ltrs/Sqm(vi) under apron of the building @ 5 Ltrs/Sqm. The rates includes cost of all materials, labour, equipments, T&P complete.(CSI No. 17.01) | Sqm | 50 | 82 | 4100
85 | Renewing panes of glass including supply of glass 4 mm thick panes including supply of all materials, labour and T&P etc. required for proper completion of the work .(C.S.I. No. 20.04b) | Sqm | 10 | 972 | 9720
86 | Easing door and windows.(C.S.I. No. 20.05 ) | No | 20 | 88 | 1760
87 | Renewing door cleats /stopper including supply of all materials, labour and T&P etc. required for proper completion of the work.(C.S.I. No. 20.06 ) | No | 20 | 54 | 1080
88 | Fixing panes of glass with and including putty brads and including supply of all materials, labour and T&P etc. required for proper completion of the work but excluding cost of galss.(CSI No. 20.07) | Sqm | 40 | 180 | 7200
89 | Cleaning panes of glass with spirit of caustic soda including supply of materials, labour and T&P etc. required for proper completion of the work.( CSI No. 20.09) | Sqm | 20 | 66 | 1320
90 | Labour for fixing door bolts or hinges or tower bolts or hasp and staples or handles etc. to doors and window. (CSI No. 20.10) | No | 40 | 26 | 1040
91 | Cleaning of septic tank including disposal of waste out side the Board's area as per direction of the Engineer-in-charge including cost of all labour, T&P etc. required for proper completion of the work. (C.S.I. No.20.12) | No | 30 | 1348 | 40440
92 | Same as item no 91 above but for inspection chember .(CSI No.20.13) | No | 10 | 199 | 1990
93 | Cleaning of main drain or width more than 300mm including disposal of waste refuses studge out side the board's ara including washing and cleaning by clean water completely as per direction of the E/I. including cost of all labour, T&P etc. required for completion of the work. (CSI No.20.14) | Rm | 100 | 8 | 800
94 | Same as item no 93 above but for drain of width less tean 300mm.(CSI No. 20.15) | Rm | 150 | 6 | 900
95 | Disposal of rubbish.debris out side the UPPCL ara as per direction of E/I, including carage, labour and materials T&P etc. required for proper completion of the work.(No. deduction for voids shall be made .(CSI No. 20.16) | Cum | 5 | 264 | 1320
96 | Supply and replacing of following chromium polished iron fittings including cost of nuts, bolts, etc. complete.(CSI No. 20.17) |  |  |  | 0
(a) | L drops 16mm dia x300 long | No. | 10 | 187 | 1870
(b) | Tower bolts 10mm diax250mm long. | No. | 10 | 88 | 880
( C) | Tower bolts 10mm diax250mm long. | No. | 10 | 64 | 640
(d) | Iron hinges 100mm size.12 gauge thick. | No. | 15 | 77 | 1155
(e) | Iron door spring | No. | 30 | 154 | 4620
(f) | M.S. handles 100mm to 150mm size | No. | 10 | 39 | 390
(g) | M.S. chain Kunda. | No. | 15 | 105 | 1575
(h) | L-drop 16mm diax200mm long. | No. | 25 | 149 | 3725
97 | Cleaning and opening of chocked W.C. /bath/kitchan pipe line including opening and reflxing of chember cover including washing etc. complete ( Analysis based on NBO.1125.020 (CSI No. 20.19) | No. | 40 | 192 | 7680
98 | S/Laying chicken mesh of (2omm) lexagonal heavy quality over oofs of joints of roof as per direction of the E/I/ ( CSI No. 20.21) | Sqm | 10 | 67 | 670
99 | Polishing of marble floor by cleaning with carborandum stone after washing with tartre cleaning powder etc. and finally with French mansion polish inclding supply of all materials, labour and T&P etc. required for proper completion of the work.(CSI No.20.22) | Sqm | 20 | 20 | 400
100 | Cleaning of existing pipe line of different dia ranging from 4" to 2" dia, including digging trenches and refilling; opening of pipes, cleaning of pipes, cutting, threading, if required fixing and including making good the road, wall etc as directed by the E/I. (CSI No. 2026a) | Rm | 100 | 118 | 11800
101 | Cleaning of existing pipe line of different dia up to 2" dia, including digging trenches and refilling; opening of pipes, cleaning of pipes, cutting, threading, if required fixing and including making good the road, wall etc as directed by the E/I. (CSI No. 20.26b) | Rm | 100 | 80 | 8000
102 | Cleaning of R.C.C. over head tank up to capacity of one lac. Liters and chlorinating with bleaching power mixed to water as per direction of E/I. et. Complete. (CSI No. 20.27) | No. | 5 | 1694 | 8470
103 | Attending to petty maintenance service like plumbing service, welder service, mansion service and carpenter service required as below. |  |  |  | 0
| Job attending by one no. Plumber/welder/mason/carpenter with one no helper per hour or part of an hour. (CSI No. 22.18) | Hour | 100 | 91 | 9100
104 | Supply and sprinking of lime in all drains of colony and water logged area including cost of all labour, materials and T&P etc. as required for proper completion of the work. (CSI No. 22.19) | Kg | 10 | 11 | 110
105 | Cleaning and sweeping of roof of residence as and when required including uprooting of rank vegetation and disposal of the garbage up to 50M. (CSI No. 22.20) | Sqm | 80 | 0.3 | 24
106 | S/F 15mm dia B-class Jindal, JTC make, ISI marked GI pipe complete with specials such as bend tee socket cross clamps earth work including filling trenches etc required for proper completion of work. The rates also includes concealed GI fitting where required, cutting making good the wall etc. with all materials, labours and T&P etc. complete (C.S.I. No. 26.01a) | Rm | 160 | 179 | 28640
107 | Same as item No.106 above but for 20mm dia G.I. Pipe (C.S.I. No. 26.01b) | Rm | 150 | 214 | 32100
108 | Same as item No. 106 above but for 25mm dia G.I. Pipe (C.S.I. No. 26.01c) | Rm | 120 | 294 | 35280
109 | Same as item No. 106 above but for 32 mm dia G.I. Pipe (C.S.I. No. 26.01d) | Rm | 90 | 348 | 31320
110 | Same as item No. 106 above but for 50mm dia G.I. Pipe (C.S.I. No. 26.01f) | Rm | 40 | 549 | 21960
111 | Providing and fixing PVC BALL FLOAT 15mm dia WITH BRASS & UNION COMPLETE , ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work. ( CSI No. 26.06) | No | 40 | 242 | 9680
112 | PVC BALL FLOAT VALVE 20mm dia. WITH BRASS & UNION COMPLETE (CSI No. 20.06b) | No | 30 | 298 | 8940
113 | PVC BALL FLOAT VALVE 25mm dia. WITH BRASS & UNION COMPLETE (CSI No. 26.06C) | No | 20 | 410 | 8200
114 | Providing and fixing PVC CONNECTION PIPE, 300x15 with 2 brass uints ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work.(CSI No.26.09a) | No | 40 | 96 | 3840
115 | PVC Connection pipe 450x15mm with 2 Brass Units. (CSI No. 26.09b) | No | 20 | 131 | 2620
116 | P/F GI Unions Nominal Bore 15mm IsI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work. (CSI No. 26.10a) | No | 10 | 84 | 840
117 | GI UNIONS 20mm Nominal Bore ( CSI No. 26.10B) | No | 15 | 120 | 1800
118 | GI UNIONS 25mm Nominal Bore (CSI No. 26.10C) | No | 8 | 181 | 1448
119 | GI UNIONS 32mm Nominal Bore (CSI No. 26.10d) | No | 10 | 271 | 2710
120 | Supply and fixing of Syntex or equivalent make water storage tank including all materials, labours T&P etc required for proper completion of work. (CSI No. 26.12) | Lit | 1000 | 11 | 11000
121 | P/F BRASS BIB COCK, 15mm dia ( 200 gsm) ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work. (CSI No. 26.13) | No. | 50 | 381 | 19050
122 | P/F BRASS STOP COCK, 15mm dia ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work. (CSI No. 26.14) | No. | 20 | 226 | 4520
123 | P/F of CP BRASS BIB COCK 15 mm dia HEAVY QUALITY (400gm) (L&K and equil.) fittings, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work. (CSI No. 26.16a) | No. | 10 | 660 | 6600
124 | CP BRASS STOP COCK 15mm dia HEAVY QUALITY (400gm) ( L&K and equi.) (CSI No. 26.16C) | No. | 5 | 660 | 3300
125 | Providing and fixing of 110 mm dia PVC Pipe 6 kg/sq.cm for with special such as Tee, bend, socket, elbow etc including supply of all labour , material T&P etc. complete required for proper completion of the work. (CSI No. 26.17) | Rm | 20 | 249 | 4980
126 | Providing and fixing of 110 mm dia PVC Pipe 4 kg/sq.cm for with special such as Tee, bend, socket, elbow etc including supply of all labour , material T&P etc. complete required for proper completion of the work. (CSI No. 26.18) | Rm | 10 | 178 | 1780
127 | Providing and fixing first quality white glazed " Orissa" pattern W.C. pan hindustan, cera make size 580mm( Hindustan, Cera make) with out "P" trap including supply of all materials, labour and T&P etc. complete. (CSI No. 27.01) | No. | 5 | 2236 | 11180
128 | Same as item no 127 above but for European type. (CSI No. 27.02) | No. | 5 | 3036 | 15180
129 | P/F of PLASTIC SEAT COVER COMPLETE WITH PLASTIC LID FOR EUROPEAN TYPE WC ISI MARKED including supply of all material, labour and T&P etc. complete. (CSI No. 27.04) | No. | 10 | 949 | 9490
130 | Providing and fixing flat back 465mmx355mmx265mm size lipped front urinal basin of white glazed earthen ware first quality ( Hindustan, Neycer make ) ISI marked including supply of all materials, labour and T&P etc required for proper completion of the work. (CSI No. 27.05) | No. | 5 | 2174 | 10870
131 | Same as item no 130 above but for flat 430x370x340mm size lipped from nrinal basin of white glazed earthen ware first quality (CSI No. 27.06) | No. | 5 | 1901 | 9505
132 | Providing and fising Division plate 600x300mm white Glaed for Urinal ISI marked including supply of all materials, labour and T&P etc required for proper completion of the work. (CSI No. 27.07) | No. | 4 | 1283 | 5132
133 | P/F of 550x400mm wash hand basin of white glazed earthen ware first quality ISI marked ( Hundustan, Neycer/Cera make) including supply of all materials, labour and T&P etc. reqired for proper completion of the work. (CSI No. 27.08) | No. | 8 | 2981 | 23848
134 | P/F of 10 litres low level PVC flushing cistern, complete with all fitting including supply of all materials, labour and T&P etc. Required for proper completion of work. (CSI No.27.12) | No. | 10 | 1320 | 13200
135 | P/F in position 32mm dia P.V.C flush pipe for W.C with unions, bends etc. including supply of all materials, labour and T&P etc. Required for proper completion of work.(CSI No. 27.13) | No. | 10 | 112 | 1120
136 | P/F in position 32mm dia P.V.C. Waste Pipe for wash basin including supply of all materials, labour and T&P etc. required for proper completion of the work. (CSI No. 27.14) | No. | 5 | 87 | 435
137 | Providing and fixing 600mm x450mm beveled edge mirror of Atul, Kiran make glass with indian polish 6.5mm thick complete with back of 6.5mm thick complete with back of 600mm x450mmx 6mm hard board sheet fixed to wooden cieats with C.P. brass screws and washers including supply of all materials, labour and T&P etc. required for proper completion of work. (CSI No. 27.15) | No. | 5 | 946 | 4730
138 | Providing and fixing 750mm x 20mm size C.P. brass towel rail of approved quality including brackets including supply of all materials, labour and T&P etc. required for proper completion of the work and cutting and making good the wall plaster et. required for work. (CSI No. 27.16) | No. | 4 | 592 | 2368
139 | Providing and fixing soap dish chromium plated with brackets fixed to wooden cleats with brass screws including supply of all materials, labour and T&P etc. required for proper completion of the work. (CSI No. 27.19) | No. | 5 | 249 | 1245
140 | Supply and fixing CP Nahani Trap India make of heavy approved quality complete with C/grating including supply of all materials, labour and T&P etc. required for proper completion of the work. (CSI No. 27.21a) | No. | 10 | 739 | 7390
141 | Removal of cinder from W.C. and bath and its disposal within 50 metres lead including cost of all labour and T&P etc. required for proper completion of the work. (CSI No. 27.22) | Cum | 10 | 92 | 920
142 | Providing and fixing 100mm dia white glazed 'P" or "S" trap including cement concrete and all materials, labour cartage T&P etc. required for proper completion of the work. (For W.C) (CSI No. 27.23) | No. | 5 | 655 | 3275
143 | Providing and fixing Stainless Steel sink 610x450x200mm Heavy Quality ( ISI marked) including all materials, labour cartage T&P etc. required for proper completion of the work.(CSI No. 27.26) | No. | 5 | 1854 | 9270
144 | Finishing walls with ACE cement paint of approved made like super snoweem or equivalent quality on new work with three coats to give an even shade including supply of all materials, labour and T&P etc. required for proper completion of the work. (NSI) | Sqm. | 500 | 80 | 40000
145 | Providing cleaning services in side M.D. office campus for cleaning, sweeping and pochha of rooms, removal of cobwebs in rooms and corridors, dusting of furnitures in side rooms brooming of roads parking area, canteen area including bathroom cleaning with phenyle water. The rate shall exclude cost of phynile bleaching power T&P etc. complete. The contractor shall make the campus neat and clean for whole day by engaging atleast one no. sweeper/worker as per direction of E/I (Minimum 3 sweeper per day for M.D. Office ). Each toilet shall be cleaned thrice a day and corridor shall be cleaned twice a day. (NSI) | Month | 12 | 22500 | 270000
146 | Providing cleaning services in Colony area for bromming of roads, cleaning of drains etc. complete. Engaging at least three Nos. sweeper/worker as per direction of E/I. (NSI) | Month | 12 | 22500 | 270000
147 | Providing cleaning services in meeting hall for cleaning/dusting of furniture example chair, table, etc. directed by E/I. and serving water, tea, Biscuits, Lunch packet etc. to the every person inside the meeting hall( When the Meeting is not schedule other necessary work will be done as directed by E/I.) (NSI) | Per Month | 12 | 9000 | 108000
148 | Maintenance of terraced roof including filling up cracks before rain with approved bituminous filler and stopping leaks during rain including supply of all materials, labour and T&P etc. required for proper completion of the work. (CSI. No. 20.01) | Sqm | 5 | 5 | 25
149 | S/F high tensile steel colour coated Anti rust, high temp resistant sheet with tensile strength 550 MPA hot dip metalic ( Zinc Aluminium) alloy ( Zn-55%) Al,(45%) coating 70 GSM with total thickness not less then 0.45 mm (TCT) durahine or equivalent make with necessary over laps incl S/F Galvamized J/V hook with bolts, nuts, washer and bitumen washers etc. incl, cost of material, labourT&P etc. and special fastners, nuts & washers provided by the company etc. required for proper completion of work as per direction of E/I confirming A.S. 1397: 1993. (NSI.) | Sqm. | 430 | 803 | 345290
150 | Same as item No. 149 above but for crimp ridge, valley and Gutter with 0.45 mm thick colour coated tensile strength sheet of same quality as per direction of E/I (NSI). | Rm | 10 | 636 | 6360
151 | Supply and fixing welded wire mesh size 75x25mm and rectangular made out of 8 SWG over M.S. angle frame with M.S. flat with nut and bolt welded as required including cost of drilling holes, bolts, nuts, washer wilding etc as required including cost of all materials, labour and T&P etc. required for peopre completin of work. exept cost of Angle iron flat (rates may be increased maximum by 10% in remote areaq by E/I after verifying market rates of welded nesh, above anolysis best on rates of welded mesh of R. 100.00/Sqm.(NSI) | Sqm | 5 | 606.1 | 3030.5
152 | S/Laying one layer of tarfelt with necessary overlapping and a coat of masti paint below the tarfelt as directed by the E/I ( CSI No. 20.29) old | Sqm | 5 | 186 | 930
153 | Finishing walls cracks holes in plaster making the surface in smooth finish with filling materials such as plaster of pairs whiting and glure and making good the walls sand paper before white wash /colour wash or dry distemper. (CSI No. 20.25) old | Sqm | 5 | 6 | 30
154 | Painting and painting house No. on residence in circle of size 8" including preparation of base with enameled paint complete as directed by E/I. ( CSI No. 20.81) old | No. | 5 | 22 | 110
155 | Painting name and designation of occupaints in a plated of size 8"x8" including preparatiion of base with best quality synthetic enamel paint as directed by E/I. ( CSI No. 20.82) old | No. | 5 | 37 | 185
156 | Fixing door chaukhats in existing opening including embedding chaukhats in floors, cutting masonary for hold faste, embedding hold fast in cement concrete blocks ( to be measured sepately) painting two coats of coaltar to sides of chaukhats and making good (CSI No. 22.45) old | No. | 5 | 506 | 2530
157 | P/F of small pieces of sal or shisham wood ( not exceeding 150 cu.cm) for making good where hinges etc. have been removed from frames of joinery etc. (CSI No. 22.49) old | No. | 5 | 13 | 65
158 | P/F 20 thick KITPLY on the walls etc with the help of wooden beading of Shisham or Salwood mails, scewsfevicol etc all complete including removal of damaged commercial ply and wood etc all complete. (CSI No. 22.51) old | Rm | 3 | 761 | 2283
159 | Cutting out creaks of roof terrance to V-selection cleaning out, watting, grouting with cement and sand slury 1:3 ( 1 cement and 3 sand )including cost of all materials, labour and T&P etc. required for proper completion of the work (CSI No. 22.55) old | Sqm | 3 | 51 | 153
160 | Providing hard rubber beadung at bottom of door covered with aluminimum strips for restoration of air, conditioning and potection from rats and etc. as required for proper completion of work. (CSI NO. 22.7) | Rm | 5 | 115 | 575
161 | P/F of half turn 15mm dia gate valve, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work.(CSI No. 26.05a) | No. | 3 | 410 | 1230
162 | HALF TURN GATE VALVE 20MM dia (CSI No. 26.05b) | No | 5 | 574 | 2870
163 | HALF TURN GATE VALVE 25MM dia (CSI No. 26.05c) | No | 3 | 800 | 2400
164 | HALF TURN GATE VALVE 32MM dia (CSI No. 26.05d) | No | 3 | 1149 | 3447
165 | P/F of CP BRASS SHOWER HEAVY QUALITY (>225 gms) (L&K and equil.) fittings, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work. (CSI No. 26.16E) | No | 5 | 571 | 2855
166 | P/F of CP BRASS wall mixture HEAVY QUALITY (L&K and equil.) fittings, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work. (CSI No. 26.16g) | No | 2 | 2856 | 5712
167 | P/F of CP BRASS angle valve HEAVY QUALITY (L&K and equil.) fittings, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work. (CSI No. 26.16i) | No | 5 | 400 | 2000
168 | P/F of CP BRASS piller cock HEAVY QUALITY (L&K and equil.) fittings, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work. (CSI No. 26.16j) | No | 3 | 628 | 1884
169 | P/F 15mm mineral Fibre Board modular False ceiling in USG or Armstrong or equivalent make as approved by Architect in Tengularedge Mineral textured tiles with approved surface pattern of size 600x600mm having Noise reduction coefficient 0.5-0.6 light reflection over 75%, Relative Humidity 95%, Surpension system of trulok exposed grid system with 15mm wide fkabges of white color , fixed to the structural soffit by Butterfly clip hangers, suspenstion wires & anchor fastener as per the manufacture's specification.Suspension wires to be provided at every 600mm C/c with two nos, of ties on each anchor fastener, perimeter trim of Trulok wall angle in white color secured to wall at 450 mm maximum centers. The work to completed as per direction by the E/I. (CSI No. 28.01) Old | Sqm | 5 | 1328 | 6640
170 | Providing and fixing GI REDUCING SOCKET, 20X15MM ISI mark heaby qaulity including supply of all materials labour and T&P required for proper completion of work. (CSI No. 26.06a) old | No. | 2 | 50 | 100
171 | Same as item no.170 above but for GI REDUCING SOCKET 25X15mm ( CSI No. 26.06b) old | No. | 2 | 62 | 124
172 | Same as item no.170 above but for GI REDUCING SOCKET 25X20mm ( CSI No. 26.06c) old | No. | 2 | 72 | 144
173 | Same as item no.170 above but for GI REDUCING SOCKET 32x25mm ( CSI No. 26.06d) old | No. | 2 | 99 | 198
174 | P/F GI REDUCING TEE 25X25X15mm ISI mark heavy qaulity including supply of all materials labour and T&P required for proper completion of work. (CSI No. 26.07a) old | No. | 2 | 88 | 176
175 | Same as item no.174 above but for GI REDUCING TEE 25x25X20mm ( CSI No. 26.07b) old | No. | 2 | 100 | 200
176 | Same as item no.174 above but for GI REDUCING TEE 20x20x15mm( CSI No. 26.07c)old | No. | 2 | 73 | 146
177 | Same as item no.174 above but for GI REDUCING TEE 32x32x15mm( CSI No. 26.07d) old | No. | 2 | 131 | 262
178 | Providing & fixing CP BRASS BIB COCK Long body 15dia. HEAVY QUALITY (200gm) (L&K and equi.) (CSI No. 26.17d) old | No. | 1 | 888 | 888
179 | Providing & fixing CP BRASS BIB COCK Short body 15dia. HEAVY QUALITY (400gm) (L&K and equi.) (CSI No.26.17e) old | No. | 1 | 732 | 732
180 | Supply and fixing 15mm dia C/PVC bib cock including replacing of old bib cock complete.(CSI No. 26.17l) old | No. | 1 | 81 | 81
| Total |  |  |  | 2428757.6
| Jr. Engr. S.D.O. |  |  | Ex. Engineer

## SECURITY WALL JAUNPUR
Bill of quanity for Construction of Security wall at Proposed Anushrawan kendra at Shahganj, Distt.- Jaunpur ( Under RGGVY).
Sl No. | Items | Unit | Qty | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6
1 | Excavation in foundation in ordinary soil (Loam Clay or Sand) including lift upto 1.5 meter and lead upto 30 meter and including filling , watering, and ramming of excavated earth into the trenches or into the space between the building and sides of the foundation the work . (C.S.I. No 4.01) | Cum. | 157.64 | 133 | 20966.12
( Rs.One hundred thirty three only)
2 | Concrete with 4 cm. (1.5") gauge Stone ballast, coarse sand (F.M. 1.8 to 2.5) and cement in proportion of 12:6:1 in foundation and under floors including supply of all materials, labour and T&P etc. required for proper completion of the work. (C.S.I. NO. 5.02) | Cum. | 23.04 | 4008 | 92344.32
( Rs. Four thousand eight only)
3 | First class brick (class-150) work in 1:6 cement and coarse sand (F.M. 1.5 to 2.00) mortar in foundation and plinth including supply of all materials, labour and T&P etc. required for proper completion of the work. (C.S.I. No.6.01) | Cum. | 98.8 | 5051 | 499038.8
( Rs. Five thousand fifty one only)
4 | Same as item No 3 above but brick work 1:6 in super structure including necessary cutting and moulding of bricks as required & also including honeycomb brick works thickness of wall not to be less than 1 brick thick (230mm) (CSI No. 6.01+6.07+6.08) | Cum. | 141.19 | 5609 | 791934.71
( Rs. Five thousand six hundred nine only)
5 | P/F Conertina coilfencing with required dia. 600mm up to 3M height of wall between existing angle iron 'Y' shaped 2.4M or 3.0M apart and with 6 horizontal R.B.T. stud tied with G.I staples and G.I. clips to retain horizontal including necessary golts or G.I. barbed wire tied to angle iron all complete (No. of round will be 7 to 8 in one Meter length) as per direction of E/I with reinforced barbed tape (R.B.T.)/Spring core (2.5mm thick) wire of high tensile strength of 165 kg/Sqmm with tape ( 0.52mm thick) of supreme make or equivalent and weight 43.478gm/meter( cost of MS angle C.C. block shall be paid separately.(CSI.No.9.37) | Rm | 383.5 | 333 | 127705.5
( Rs. Three hundred thirty three only)
6 | Mild Steel or Iron work in heavy sizes such as trusses, built-up gates, door frames, record racks, roof work, gates etc. wrought to required form including holes rivetting or welding where necessary and also fixing in proper position and alignment including supply of steel, nuts wastage etc. and their fixing as required for proper completion of the work (CSI No. 9.01 ) | Qtl. | 9.08 | 7491.9 | 68026.452
( Rs. Seven thousand four hundred ninety and paise ninety only)
7 | TMT/Tor steel in plain work such as reinforced concrete or reinforced brick work. (when not included in over all rates) wrought to required shape as necessary including bending for proper completion of the work and including supply of steel, its wastage, bend hooks, and authorized overlapping shall be measured.(C.S.I. No. 9.03 ) | Qtl. | 1.6 | 6545.2 | 10472.32
( Rs. Six thousand five hundred forty five and paise twenty only)
8 | 12 mm (1/2") thick plaster with cement mortar consisting of one part of cement & four part of coarse sand (1:4) minimum thickness not to be less than 10mm including supply of all materials, labour and T&P etc. required for proper completion of the work.(rates including cost of cement) (C.S.I. No.11.07) | Sqm. | 1695.01 | 158 | 267811.58
( Rs. One hundred fifty eight only)
9 | R.C.C. work with cement, approved coarse sand and 2 cm. gauge approved hard stone ballast in the proportion of 1:1.5:3 in the lintels of doors and windows excluding reinforcement and its bending but including its fixing and binding the same with 24 BWG, G.I. binding wire and including necessary centering and shuttering etc. and also including supply of all materials, labour and T&P etc. required for proper completion of the work. (Binding wire to be supplied by the contractor free of cost).(C.S.I. No. 5.25) | Cum. | 1 | 7874 | 7874
( Rs. Seven thousand eight hundred seventy four only)
10 | Same as in item no. 09 above but in R.C.C. Columns. (C.S.I. No. 5.29) | Cum. | 1.35 | 9937 | 13414.95
( Rs. Nine thousand nine hundred thirty seven only)
11 | Same as in item no. 09 above but in R.C.C. raft (C.S.I. No. 5.27) | Cum. | 1 | 7473 | 7473
( Rs. Seven thousand four hundred seventy three only)
12 | RCC work with cement approved coarse sand ( F.M. 1.8 to 2.5) and 2cm gauge graded approved hard stone ballast like grinite, quarzite etc from Dalla, Jhansi or other quarries and approved coarse sand in proportion 1:1.5:3 in lighter beams ie. Having span up to 6m, excluding supply of reinforcement & its bending but including its fixing and binding the same with binding wire, including cost of all other material, labour and T&P etc. complete.(CSI NO. 5.25) | Cum. | 1 | 9734 | 9734
( Rs. Nine thousand seven hundred thirty four only)
13 | Finishing of walls with water proof exterior emulsion paint of ACE of Asian paints or equialent make including 3 coats of above paint including one priming coat on already well prepared new wall surface to give an even shade including cost of all materials, labour and T&P egc. complete for proper completion of the work.(NSI) | Sqm. | 1709.25 | 80 | 136740
( Rs. Eighty only)
14 | Cement concrete with 2 cm. gauge approved hard stone ballast, approved coarse ( F.M. 1.8 to 2.5) sand and cement in the proportion 4:2:1 including supply of all materials, labour and T&P etc. required for proper completion of the work.(C.S.I. No. 5.06) | Cum. | 0.5276 | 6334 | 3341.8184
( Rs. Six thousand three hundred thirty four only)
15 | Grouting (in CC 1:2:4) MS angle iron post and stay in proper alignment and plumb complete with all labour, and T&P etc. required for proper completion of the work excluding cost of CC 1:2:4 and angle iron post and stay (C.S.I. No. 22.66) (Old) | NO | 129 | 13 | 1677
( Rs. Thirteen only)
16 | providing (12x15)mm section in plaster including all materials, labour and T&P etc. required for poper completion of the work.(CSI No. 11.16) | Rm | 1329.93 | 11 | 14629.23
( Rs. Eleven only)
17 | Painting or vornishing new iron work in small areas or new wood work with one coat of ready mixed priming paint and two coat of approved superior quality ready mix paint "Luxol" or equivalent brand or vornish including supply of all materials, labour and T&P etc. required for proper completion of the work. Pint to be used should conform to the I.S. 103-1950(CSI.No. 13.01+13.02) | Sqm | 42.57 | 97 | 4129.29
( Rs. Ninety seven only)
18 | 2.5cm.thick damp proof course with 1:2 cement and approved coarse sand (F.M. 1.8 to 2.5), and 3 parts approved 12mm.graded stone grit and also including liquid water proofing materials as approved by E/I. in the proportions specified by the manufacture.(CSI.No. 7.02) | Sqm. | 93.35 | 296 | 27631.6
( Rs. Two hundred ninety six only)
Total |  |  |  |  | 2104944.6904
| Say Rs |  |  |  | 21,04,945.00
( Rs. Twenty one lacs four thousand nine hundred forty five only)
| Jr.Eng. | S.D.O. |  | Ex.Eng.

## M&R OF WORKSHOP JAUNPUR
Bill of quanity for M&R of old workshop and Construction of CC Road with Toe wall at Jaunpur
Sl No. | Items | Unit | Qty | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6
1 | Excavation in foundation in ordinary soil (Loam Clay or Sand) including lift upto 1.5 meter and lead upto 30 meter and including filling , watering, and ramming of excavated earth into the trenches or into the space between the building and sides of the foundation the work . (C.S.I. No 4.01) | Cum. | 11.88 | 133 | 1580.04
( Rs. One hundred thirty three only)
2 | Concrete with 4 cm. (1.5") gauge Stone ballast, coarse sand (F.M. 1.8 to 2.5) and cement in proportion of 12:6:1 in foundation and under floors including supply of all materials, labour and T&P etc. required for proper completion of the work. (C.S.I. NO. 5.02) | Cum. | 30.36 | 4008 | 121682.88
( Rs Four thousand eight only)
3 | First class brick (class-150) work in 1:6 cement and coarse sand (F.M. 1.5 to 2.00) mortar in foundation and plinth including supply of all materials, labour and T&P etc. required for proper completion of the work. (C.S.I. No.6.01) | Cum. | 13.662 | 5051 | 69006.762
( Rs. Five thousand fifty one only)
4 | 12mm thick plaster with cement mortar consisting of one part of cement &four part of coarse sand (1;4) minimum thickness not to be less then 10mm including supply of all materials, labour and T&P etc. for proper completion of the work.(CSI No. 11.07) | Sqm | 89.76 | 158 | 14182.08
( Rs. One hundred fifty eight only)
5 | Cement concrete with 2 cm. gauge approved hard stone ballast, approved coarse sand and cement in the proportion 4:2:1 including supply of all materials, labour and T&P etc. required for proper completion of the work. (C.S.I. NO. 5.06) | Cum. | 32 | 6334 | 202688
( Rs. Six thousand three hundred thirty four only)
6 | Dismantling brick work or stone work in lime or cement mortar and including stacking of materials as directed by the E/I. with in a distance of 60 meters. (CSI No. 15.01) | Cum. | 99.96 | 389 | 38884.44
( Rs. Three hundred eighty nine only)
7 | Dismantling corrugated iron & asbastas roof sheet and stacking of materials as directed by E/I. with in a distance of 60 mtrs, (CSI No. 15.07) | Sqm | 599.72 | 37 | 22189.64
( Rs. Thirty seven only)
8 | 1st Class brick ( class-150) work in 1:6 but in super structure including necessary cutting and moulding of bricks as required & also including honey comb brick works thickness of wall 230mm (CSI No. 6.01+6.07+6.08) | Cum | 74.15 | 5609 | 415907.35
( Rs. Five thousand six hundred nine only)
9 | 12 mm (1/2") thick plaster with cement mortar in proportion of 1:6 cement and approved coarse sand over brick work, minimum thickness not to be less than 1 cm. (3/8") including supply of all materials, labour and T&P etc. required for proper completion of the work.(rates including cost of cement) (C.S.I. No.11.09) | Sqm. | 465.52 | 148 | 68896.96
( Rs. One hundred forty eight only)
10 | Finishing walls with ACE cement paint of approved made like super snoweem or equivalent quality on new work with three coats to give an even shade including supply of all materials, labour and T&P etc. required for proper completion of the work. (NSI) | Sqm. | 465.52 | 80 | 37241.6
( Rs. Eighty only)
11 | S/F high tensile steel colour coated Anti rust, high temp resistant sheet with tensile strength 550 MPA hot dip metalic ( Zinc Aluminium) alloy ( Zn-55%) Al,(45%) coating 70 GSM with total thickness not less then 0.45 mm (TCT) durahine or equivalent make with necessary over laps incl S/F Galvamized J/V hook with bolts, nuts, washer and bitumen washers etc. incl, cost of material, labourT&P etc. and special fastners, nuts & washers provided by the company etc. required for proper completion of work as per direction of E/I confirming A.S. 1397: 1993. (NSI.) | Sqm. | 439.02 | 803 | 352533.06
( Rs. Eight hundred three only)
12 | Same as item No. 11 above but for crimp ridge, valley and Gutter with 0.45 mm thick colour coated tensile strength sheet of same quality as per direction of E/I (NSI). | Rm | 60.6 | 636 | 38541.6
( Rs. Six hundred thirty six only)
13 | Supply and fixing 24 B,W.G. Galavized iron Ridges valley and gutters of asbestos sheet with J or U bolts 10mm dia with G.I. Limpet & bitumen washers including supply of all materials, labour , wastage and T&P etc. required for proper completion of the work. (CSI No. 10.04) | Rm | 49.8 | 358 | 17828.4
( Rs. Three hundred fifty eight only)
14 | Providing and fixing of 110 mm dia PVC Pipe 6 kg/sq.cm for with special such as Tee, bend, socket, elbow etc including supply of all labour , material T&P etc. complete required for proper completion of the work. (CSI No. 26.17) | Rm | 30 | 249 | 7470
( Rs. Two hundred forty nine only)
15 | Providing and fixing steel glazed widnow and ventilators of standard rolled Mann or Mahavir steel sections conforming to IS 7452-1974 as per drawing joints metered & welded with 100x14x3 mm hodfast embedded in cement concrete block 15x10x10 c, Size of 1;3:6 proportion I.E . First part of cement 3 part of approved coarse sand & 6 part of graded stone (aggregated 20mm .Nominal size) S/F of glass panes of plain pin headed 4mm. Thick nuts glazing clips and special putty of approved make complate and including a cost of red oxide paint. The fabrication should conform to I.S.1038-1975 ( Aluminum beading with rubber packing included) (CSI No. 9.17) | Sqm | 95 | 3828 | 363660
( Rs. Three thousand eight hundred twenty eight only)
| Total |  |  |  | 1772292.812
( Rs. Seventeen lac seventy two thousand two hundred ninety two and paise eighty one only)
| Jr. Engr. | S.D.O |  | Ex. Engineer