CIN-U31200UP2003SGC027461

Mob-9450963878

Email:eecivil.vnspuvvnl@gmail.com

dk;kZy;

vf/k”kklh vfHk;Urk

fo|qr tkuin [k.M ¼forj.k½

iwokZapy fo|qr forj.k fuxe fy0

fo|qr uxj] fHk[kkjhiqj] Mh0,y0MCyw0

okjk.klhA

i=kad% lh&07@fo0tk0[k0¼fo0½@ok0@Vh&1                 fnukad      13@05@2016

lsok esa]

foKkiu O;oLFkkid			          foKkiu O;oLFkkid

VkbEl vkWQ bf.M;k]			     U;k;k/kh”k]

y[kuÅA                               okjk.klhA

egksn;]

d`i;k layXu foKkiu vius çfrf’Br nSfud lekpkj i= esa de ls de 8&9 IokbaV Vkbi esa lekpkj i= esa ,d dkye esa çdkf”kr djus dh d`ik djsaA fufonk lwpuk dk çdk”ku fufonk gsrq fu/kkZfjr i`’B ij gh djus dh O;oLFkk djsaA

çdk”ku ds ckn foKkiu vkns”k dh çFke ewy çfr çdk”ku gsrq çsf’kr lkexzh dh ewy çfr ds lkFk foKkiu “kqYd chtd rhu çfr;ksa esa vfxze Hkqxrku çkfIr jlhnh fVdV lfgr çdkf”kr foKkiu dh nks lEiw.kZ ckmpj çfr;ka layXu djrs gq, Hkqxrku gsrq ç”kklfud vf/kdkjh] dk;kZy; çcU/k funs”kd] iwokZUpy fo|qr forj.k fuxe fy0] fo|qr uxj] i=ky;&Mh0,y0MCY;w0] okjk.klh dks çsf’kr djsaA

foKkiu vkns”k dh çFke çfr ds LFkku ij QksVks çfr çsf’kr djus ij lR;kiu@Hkqxrku laHko u gksxkA

foKkiu çdkf”kr gksrs gh fcyEcr% ,d lIrkg ds vUnj çdkf”kr foKkiu dh ,d dfVax v/kksgLrk{kjdrkZ dks lwpukFkZ çsf’kr dj nh tk; vU;Fkk lacaf/kr chtd dk lR;kiu@Hkqxrku laHko ugha gksxk A

;fn vkidks lwpuk ,oa tu lEidZ foHkkx m0ç0 rFkk foKkiu ,oa n`’; çpkj funs”kky;] Hkkjr ljdkj }kjk foKkiu njsa Lohd`r u gks rks d`i;k foKkiu dk çdk”ku u djsa rFkk v/kksgLrk{kjh dks vfoyEc bl vk”k; dh lwpuk nsus dk d’V djsaA

foKkiu ds vUr esa lcls NksVs lkbt esa  ^^jk’Vª fgr esa fctyh cpk,a** dk ukjk rFkk foKkiu vkns”k dh la[;k o fnukad vo”; çdkf”kr djsaA

mDr funsZ”kksa ds foijhr rFkk xyr vFkok Hkn~ns <ax ls çdkf”kr fd;s x;s foKkiuksa esa fuxe }kjk fu;ekuqlkj vko”;d dVkSrh dh tk ldrh gS vFkok lEiw.kZ chtd dk Hkqxrku jksdk@fujLr fd;k tk ldrk gSA

layXud%&foKkiu lkexzhA

Hkonh;]

¼vjfoUn flag½

vf/k”kklh vfHk;Urk

i=kad%lh&07@fotk[k¼fo½@ok0@Vh&1@rn~fnukad 13-05-2016

çfrfyfi fuEufyf[kr dks lwpukFkZ ,oa vko”;d dk;Zokgh gsrq çsf’kr%&

1&	çcU/k funs”kd] iwokZUpy fo|qr forj.k fuxe fy0] okjk.klh A

2&	eq[; vfHk;Urk tkuin {ks= ¼fo0½] iwokZUpy fo|qr forj.k fuxe fy0] okjk.klhA

3&	tulEidZ vf/kdkjh] iwokZUpy fo|qr forj.k fuxe fy0] okjk.klh A

4&	v/kh{k.k vfHk;Urk] fo|qr tkuin e.My ¼forj.k½] okjk.klh A

5&	mi[k.M vf/kdkjh] fo|qr tkuin mi[k.M ¼forj.k½&çFke] okjk.klhA

6&	uksfVl cksMZ A <A

¼vjfoUn flag½

vf/k”kklh vfHk;Urk

¼vjfoUn flag½

iwokZUpy fo|qr forj.k fuxe fy0] okjk.klh

fufonk vkea=.k lwpuk

v/kksgLrk{kjdrkZ }kjk fuEukafdr fufonk,a nks vyx&vyx Hkkxksa esa vkeaf=r dh tkrh gS] tks fnukad 14-06-2016 dks vijkUg 15%00 cts rd çkIr dh tk;sxh rFkk mlh fnu 15%30 cts Hkkx çFke ds çi=ksa dh tkpksijkUr lkoZtfud :i ls [kksyh tk;sxhA ¼1½ fufonk fof”k’Vhdj.k la[;k&06@2016&17% Mhty ikoj gkml ¼Mh-ih-,p-½ e.MqokMhg] okjk.klh ifjlj esa vkj0th0th0oh0okbZ 12oha ;kstuk ds vUrxZr LVksj Hkou dk fuekZ.k dk;ZA

¼2½ fufonk fof”k’Vhdj.k la[;k&07@2016&17% Mhty ikoj gkml ¼Mh-ih-,p-½ e.MqokMhg] okjk.klh ifjlj esa fctusl Iyku 2016&17 esa lfEefyr fo|qr ifjorZd ejEer dk;Z”kkyk gsrq LVksj “ksM dk fuekZ.k dk;ZA

fufonk çi= v/kksgLrk{kjdrkZ ds dk;kZy; ls fnukad 13-06-2016 rd fdlh Hkh dk;Z fnol esa fufonk “kqYd ¼vçfr ns;½ udn tek dj çkIr dj ldrs gSaA vU; fu;e ,oa “krsZ fufonk çi= ds lkFk layXu gSA foLr`r lwpuk fuxe dh osclkbV http:/puvvnl.up.nic.in ij ns[kh tk ldrh gSA fo|qr pksjh dh lwpuk dLVej ds;j lsUVj ds VkWy Ýh ua0 1800&180&5025 ij nsaA

^^ jk’Vª fgr esa fctyh cpk;sa**

vf/k”kklh vfHk;Urk

fo|qr tkuin [k.M¼fo0½

fo|qr uxj i=ky;] Mh0,y0MCY;w0]

okjk.klh

iwokZUpy fo|qr forj.k fuxe fy0] okjk.klh

fufonk vkea=.k lwpuk

v/kksgLrk{kjdrkZ }kjk fuEufyf[kr dk;Z gsrq i`Fkd&i`Fkd eksgjcUn fufonka, l{ke ,oa vuqHkoh Bsdsnkjksa@dk;Znk;h laLFkkvksa ls fnukad 14-06-16 dks O;fDrxr@ Mkd@dksfj;j ds ek/;e ls nks Hkkxksa esa vkeaf=r dh tkrh gSA  fufonk ds çFke&Hkkx esa /kjksgj /kujkf”k] çh&DokfyQkbZax daMh”ku ls lacaf/kr çi=] rduhdh fof”k’V;kW] leku çd`fr ds dk;Z dk vuqHko çek.k i=] QeZ dk O;kikj dj] uohure vk;dj çek.k i= tks nks o’kZ ls vf/kd iqjkuk u gks] pfj=&çek.k i=] lkyosUlh] Je foHkkx ,oa lfoZlVSDl iathdj.k çek.k i=ksa dh Nk;kçfr;ka ,oa f}rh; Hkkx esa ek= njksa lacaf/kr fooj.k j[ks tk;sxsaA fcuk /kjksgj /kujkf”k ds fufonk dk f}rh; Hkkx ugha [kksyk tk;sxkA  fufonk fnukad 14-06-16 dks vijkUg 15%30 cts mifLFkr QeksZ ds çfrfuf/k;ksa ds le{k dk;kZy; fo|qr tkuin [k.M ¼fo0½] iwokZUpy fo|qr forj.k fuxe fy0] okjk.klh esa v/kksgLrk{kjdrkZ vFkok vf/kd`r çfrfuf/k }kjk [kksyh tk;sxhA

fufonk çi= vgZ Bsdsnkjksa@QeksZ dks bl dk;kZy; ls fnukad 13-06-2016  dks vijkUg 17%00 cts rd foØ; fd;s tk;sxsaA mDr frfFk dks vodk”k iM+ tkus dh fLFkfr esa fufonk foØ; @[kksyus dh frfFk vxyk dk;Z fnol gksxhA fufonk çi= osclkbV ls MkmuyksM djds Hkh çkIr dj ldrs gSa] bl n”kk esa fufonk çi= ds ewY; ds cjkcj /kujkf”k cSad Mªk¶V ¼vçfr ns;½] tks fd vf/k”kklh vfHk;Urk] fo|qr tkuin [k.M ¼fo0½ okjk.klh ds i{k esa ns; gksxk] fufonk ds çFke Hkkx ds lkFk layXu djuk gksxkA fufonkdkjksa dks Li’V fd;k tkrk gS fd ;fn fufonk dk ,d gh fyQkQk çkIr gksrk gS rks mls [kksyk ugha tk;sxkA vr% fufonkdkjksa dks lykg nh tkrh gS fd os d`i;k fufonk çLrqr djus ls igys fufonk vkea=.k lwpuk dks Hkyh Hkkafr i<+ ysA

¼1½ fufonk fof”k’Vhdj.k la[;k&06@2016&17% Mhty ikoj gkml ¼Mh-ih-,p-½ e.MqokMhg] okjk.klh ifjlj esa vkj0th0th0oh0okbZ 12oha ;kstuk ds vUrxZr LVksj Hkou dk fuekZ.k dk;ZA /kjksgj /kujkf”k             :0 2]00]000-00A dk;Z vof/k 10 ekgA fufonk ewY; fcØhdj lfgr :0 5500-00A

¼2½ fufonk fof”k’Vhdj.k la[;k&07@2016&17% Mhty ikoj gkml ¼Mh-ih-,p-½ e.MqokMhg] okjk.klh ifjlj esa fctusl Iyku 2016&17 esa lfEefyr fo|qr ifjorZd ejEer dk;Z”kkyk gsrq LVksj “ksM dk fuekZ.k dk;ZA /kjksgj /kujkf”k :0 2]40]000-00A dk;Z vof/k 10 ekgA fufonk ewY; fcØhdj lfgr :0 5500-00A

fufonk dh oS|rk fufonk [kqyus dh frfFk ls 4 ekg gksxhA /kjksgj /kujkf”k vf/k”kklh vfHk;Urk] fo|qr tkuin [k.M ¼forj.k½] okjk.klh ds i{k esa jk’Vªhd`r cSad@fjtcZ cSad }kjk lwphc) ¼”skM~;wy½ caSd }kjk tkjh ,Q-Mh-vkj-@lh-Mh-vkj-@,u-,l-lh-@Vh-Mh-vkj-@cSadlZ psd ds :i esa cU/kd gksxh] Lohdkj dh tk;sxhA v/kksgLrk{kjdrkZ dk vf/kdkj gksxk fd fcuk dkj.k crk;s ,d ;k lHkh fufonkvksa dks fujLr dj vFkok ,d ls vf/kd Bsdsnkjksa esa foHkDr dj ldrk gSA vU; fu;e ,oa “krsZ fufonk çi= ds lkFk fuxZr dh tk;sxhA

d`i;k foLr`r tkudkjh] fooj.k@MkmuyksM rFkk vU; fdlh çdkj ds la”kks/ku@foLrkj ds fy, fufonk [kqyus dh frfFk ls igys fuxe dh osclkbV http:/puvvnl.up.nic.in ij ns[ksaA

^^ jk’Vª fgr esa fctyh cpk;sa**

vf/k”kklh vfHk;Urk

fo|qr tkuin [k.M¼fo0½

fo|qr uxj i=ky;] Mh0,y0MCY;w0]

okjk.klh

OFFICE OF THE

EXECUTIVE  ENGINEER

ELECTRICITY CIVIL DIVISION (DISTRIBUTION)

PURVANCHAL VIDYUT VITRAN NIGAM LIMITED

P.O.- D.L.W, VARANASI

CIN-U31200UP2003SGC027461

Construction of Store Shed & Office at D.P.H., Manduadih, Varanasi.

ABSTRACT OF COST

| Cost of store shed & Office | Rs 70,11,456.00 |
| --- | --- |
| Cost of BOE Floor,Boundary wall & Boundary Gate | Rs. 24,36,560.00 |
| Total | Rs. 94,48,016.00 |

( Rs. Ninety four lacs forty eight thousand sixteen only)

(Service tax & labour cess  will be paid extra as applicable)

Condition:

| 1. | Tenderers are advised to visit the site of work and make themselves acquainted with the site condition. No claim what so ever shall be entertained after submission of the tender. |
| --- | --- |
| 2. | Cement shall be arranged by the contractor on his own cost, fresh cement conforming to relevant I.S. of brands such as J.K., Birla uttam, A.C.C., Ambuja or equivalent of major plants shall be used in the work, Contractor shall make proper storage arrangement of cement at site of works to the satisfaction of E/I. Cement should always be stored in such a manner to be easily accessible of proper inspection and in a suitable weather tight building or storage shed to protect the cement from dampness. |
| 3. | TOR steel shall be of Fe 415 grade and of approved make by E/I. |
| 4. | Quantities are approximate and vary up to any extent on either side as per requirement of site conditions. |
| 5. | All above works shall be executed as per U.P.P.W.D./U.P.P.C.L. Specification or as per direction of E/I. |
| 6. | All Electrification material / fittings/ and other materials of door/windows including fitting etc. shall be got approved from E/I before fixing the same at site of work. |
| 7. | ACE Acrylic distemper and paint etc. shall be of ASIAN/BERGER/J&N Brand of approved quality which shall be got approved before using in the work from the E/I. |
| 8. | Flush doors and other fitting Aluminium fitting etc. shall be got approved by E/I. Flush door shutters shall be 100% waterproof ISI marked. |
| 9. | If Specifications for any item of work are not covered by any of the documents mentioned in the contract the same shall be decided and conveyed by the E/I to the contractor. |
| 10. | Old bricks, if any shall be recovered from dismantling of brick work in cement/lime mortar as follows: - 60% of the total quantity of dismantling brick work shall be treated as received and shall be reused @ Rs. 4200.00 per 1000 in relevant item of old B/W. - 25% of the total quantity of dismantling work shall be treated as brick bats and shall be recoverd @ Rs. 850.00 per Cum at site and balance shall be treated as malba. |
| 11 | Old and dismantled doors & windows if any shall be property of contractor which shall be recovered @ Rs. 200.00 per Sqm. from the contractor. |
| 12 | Old unusable steel/ scrap if any of R.C.C./ RB. work shall be recovered @ Rs. 24.00 per kg from the contractor. |
| 13. | Kachchi shuttering in R.C.C. work is strictly prohibited. If R.C.C. is done with Kachchi shuttering , 20% of rate of R.C.C. shall be reduced without giving any notice to the contractor. |
| 14. | The work shall be carried out up to approximately 08M height for Double storied building. |
| 15. | The rates are exclusive of labour cess and Service Tax which shall be paid extra as applicable. For reimbursement of labour cess & Service Tax, Contractor must be registered with Labour Department and Excise Department. |
| 16. | Other terms and conditions are same as attached in enclosed tender documents. |

Jr.Eng.					S.D.O.	-I			Ex.Eng.

I/We ………………………………………………..here by offer to execute above noted works on ………………% ( In figure……………………………% ) ( in works) above/below/at par the estimated rates/cost printed in the enclosed bill of quantities of the above work.

SIGNATURE OF CONTRACTOR

NAME & FULL ADDRESS……………….

OFFICE OF THE

EXECUTIVE  ENGINEER

ELECTRICITY CIVIL DIVISION (DISTRIBUTION)

PURVANCHAL VIDYUT VITRAN NIGAM LIMITED

P.O.- D.L.W, VARANASI

CIN-U31200UP2003SGC027461

Construction of Transformer reparing work shop shed & Misc. Civil work          at D.P.H., Manduadih, Varanasi.

ABSTRACT OF COST

| Cost of work shop shed & Misc. Work | Rs 1,15,98,550.00 |
| --- | --- |
| Total | Rs. 1,15,98,550.00 |

( Rs. One crore fifteen lacs ninety eight thousand five hundred fifty  only)

(Service tax will be paid extra as applicable)

Condition:

| 1. | Tenderers are advised to visit the site of work and make themselves acquainted with the site condition. No claim what so ever shall be entertained after submission of the tender. |
| --- | --- |
| 2. | Cement shall be arranged by the contractor on his own cost, fresh cement conforming to relevant I.S. of brands such as J.K., Birla uttam, A.C.C., Ambuja or equivalent of major plants shall be used in the work, Contractor shall make proper storage arrangement of cement at site of works to the satisfaction of E/I. Cement should always be stored in such a manner to be easily accessible of proper inspection and in a suitable weather tight building or storage shed to protect the cement from dampness. |
| 3. | TOR steel shall be of Fe 415 grade and of approved make by E/I. |
| 4. | Quantities are approximate and vary up to any extent on either side as per requirement of site conditions. |
| 5. | All above works shall be executed as per U.P.P.W.D./U.P.P.C.L. Specification or as per direction of E/I. |
| 6. | All Electrification material / fittings/ and other materials of door/windows including fitting etc. shall be got approved from E/I before fixing the same at site of work. |
| 7. | ACE Acrylic distemper and paint etc. shall be of ASIAN/BERGER/J&N Brand of approved quality which shall be got approved before using in the work from the E/I. |
| 8. | Flush doors and other fitting Aluminium fitting etc. shall be got approved by E/I. Flush door shutters shall be 100% waterproof ISI marked. |
| 9. | If Specifications for any item of work are not covered by any of the documents mentioned in the contract the same shall be decided and conveyed by the E/I to the contractor. |
| 10. | Old bricks, if any shall be recovered from dismantling of brick work in cement/lime mortar as follows: - 60% of the total quantity of dismantling brick work shall be treated as received and shall be reused @ Rs. 4200.00 per 1000 in relevant item of old B/W. - 25% of the total quantity of dismantling work shall be treated as brick bats and shall be recoverd @ Rs. 850.00 per Cum at site and balance shall be treated as malba. |
| 11 | Old and dismantled doors & windows if any shall be property of contractor which shall be recovered @ Rs. 200.00 per Sqm. from the contractor. |
| 12 | Old unusable steel/ scrap if any of R.C.C./ RB. work shall be recovered @ Rs. 24.00 per kg from the contractor. |
| 13. | Kachchi shuttering in R.C.C. work is strictly prohibited. If R.C.C. is done with Kachchi shuttering , 20% of rate of R.C.C. shall be reduced without giving any notice to the contractor. |
| 14. | The work shall be carried out up to approximately 08M height for Double storied building. |
| 15. | The rates are exclusive of labour cess and Service Tax which shall be paid extra as applicable. For reimbursement of labour cess & Service Tax, Contractor must be registered with Labour Department and Excise Department. |
| 16. | Other terms and conditions are same as attached in enclosed tender documents. |

Jr.Eng.					S.D.O.	-I			Ex.Eng.

I/We ………………………………………………..here by offer to execute above noted works on ………………% ( In figure……………………………% ) ( in works) above/below/at par the estimated rates/cost printed in the enclosed bill of quantities of the above work.

SIGNATURE OF CONTRACTOR

NAME & FULL ADDRESS……………….