GENERAL TERMS AND CONDITIONS

- The date of submission of tender is on dated 10-03-17 at  02.00 P.M.

- The date of opening of tender is on dated 10-03-17 at 02.00 P.M.

- The rate must be quoted in words as well as in figure on the prescribed form only.

- The rates against this tender should be valid for atleast 90 days.

- The Superintending Engineer, Electricity Distribution Circle, Fatehpur reserves the right to reject any or all tenders or split up the order among different parties without assigning any reason thereof.

- The Earnest Money Rs.      /- should be deposited in the form of TDR/CDR/FDR of any scheduled bank in favour of Superintending Engineer, Electricity Distribution Circle, Fatehpur. Cheque will not be accepted. Adjustment of Earnest Money against any  tender or other works or any pending payment in this circle shall not be accepted.

- Rates and other details must be mentioned on this tender specification failing which their offer may not be accepted.

- No tender shall be considered where bidder has not tendered adequate earnest money in acceptable form as prescribed in the tender specification. The firm registered with DGS & D Stores Procurement Section, D.I. Kanpur, UPSSIC, Kanpur are not exempted from depositing the earnest money and without this tender bid will not be opened.

- All tenders are to be submitted in Three separate parts under sealed envelopes :-

(A)  First Envelop Called Part-I of the tender consists of earnest money in required form. The tender specification No. & date of opening of tender as well as name of the firm be mentioned clearly on the top left hand corner of envelope.

(B)  Second Envelop Called Part-II of the tender should contain schedule of quantities & prices duly filled in and signed along with other terms and conditions. The tender specification No. & date of opening of tender as well as name of the firm be mentioned clearly on the top left hand corner of envelope.

- Past experience for execution of such type of Work should be preferably mentioned.

- The name and address of the firm must be mentioned clearly on the Left Bottom of the envelope.

SUPERINTENDING ENGINEER

SPECIAL CONDITIONS OF WORK

CONTRACTS & RESPONSIBILITY OF CONTRACTORS

- It shall be the sole responsibility of the Contractor to ensure compliance of all labour, industrial and other enactments, rules and other enforce regarding conditions of labour, safety and security of people and property, etc

- The contractor shall be solely responsible to provide statutory (Provident Fund, ESI, etc.) and non-statutory welfare measures to staff engaged by him.

- The Contractor shall ensure that staff engaged by him possess the necessary authorization from the competent authority to carry out the job under Indian Electricity Act, 1910, Indian Electricity Rules-1956 and other rules/orders enforce.

- The Contractor shall be responsible for the execution of contract (Work) in accordance with the terms and conditions of Form ‘A’ prescribed by the Corporation.

- The Contractor shall arrange proper tools, plants, equipments, workmen etc. necessary for the work at his cost.

- All charges/compensation on account of damage, loss, theft or accident to be paid as per Factory Act shall be born by the Contractor and he shall be solely responsible for making payment to claimants.

- The Corporation shall have the right to require the Contractor to make good free of cost any damage to the equipment/property of PuVVNL while carrying out the job. If the Contractor fails to do the needful the Corporation shall be at liberty to recover the cost of damage /loss in the manner deemed fit.

- No claim shall be entertained for the labour rendered idle due to stoppage or suspension of work or delay in payment for any reason whatever.

- The PuVVNL/Engineer of contract may at any time terminate the contract without any notice/payment in lieu thereof or assigning any reason thereof.

- In case of any dispute between the parties concerned, Chief Engineer (D) shall be the sole arbitrator and his decision shall be final & binding on both parties.

- All the work covered by the specifications shall be carried out in accordance with the General Conditions of Contract Form ‘A’. Deviation if any should be clearly specified in the bid under heading deviations from the General Conditions of Contract Form ‘A’.

- Payment of running bills may be made at the discretion of Engineer of the Contract.

- The Contractor shall have to return all surplus/unused material at departmental store at his own cost.

- All materials except sand, brick ballast/stone ballast, bricks and cement will be supplied by the department free of cost at stores, until & otherwise mentioned specifically.

- Deduction of unaccountable material will be made and recovered at stock issue rate.

- All work shall be completed as per technical specifications, drawings, PVVNL’s construction manual, relevant ISS and/or Indian Electricity Act

- The rates should be completely inclusive of carriage, handling, labour, T&P etc. required for completion of work as specified in technical specifications.

- Watch and ward shall be arranged by the Contractor at work site at his own cost till the work is handed over to the department.

- Electricity, if available, shall be supplied free of cost for construction work to the contractor at the work site only.

- Sub-contracting of work will not be allowed. This will automatically lead to cancellation of the contract.

- Insurance charges, if any, shall be borne by the Contractor.

- The bidder should have sufficient past experience of construction of similar work and should enclose the details with the bid.

- The contractor will be required to submit fortnightly progress report of the work wherein the bottleneck, if any, in carrying out the work should be mentioned.

- The contractor shall ensure timely completion of work as per contract subject to availability of shutdown.

| Signature of Contractor With seal |  | Superintending Engineer |
| --- | --- | --- |

# TECHNICAL SPECIFICATION FOR SUB-STATION OPERATION

- The scope of work includes operation work of 33/11 KV Sub-station round the clock in three shifts of eight hours each by a one electrification/skilled operator having minimum qualification of I.T.I. (Electrification grade) for operation of 11 KV Switchgears, 33/11 KV transformers, 33 KV Switchgears, battery & battery charger and other associated equipments installed at respective substations, includes cleaning of equipments, operation of switchgears, T.P.M.O, replacement of fuses, issue of shutdowns, maintaining of log sheets and other records pertaining to operation of substation.

- The work also includes attending telephone calls, recording consumer complaints at the sub-stations, recording and sending messages, monitoring complaint register and deputing the maintenance gangs for attending the same at the consumer’s premises. In case of any fault in 11 KV/L.T. Line tripping at 33 KV Sub-station, the contractor is required to inform the Engineer incharge of Sub-station.

- The workmen deployed to perform the above duties should be able to perform the same efficiently and are to inform immediately about any breakdowns or shutdown to the concerned in-charge of the sub-station, or to the person nominated by him. Power cut will be enforced as per instructions issued by competent authority.

- The workman will be responsible to keep all the keys of sub-station, T&P etc. properly in safe custody at the sub-station along with other associated equipments.

- The engagement of Staff is purely temporary and there shall be no claim for further appointment.

- No Flooding and lodging facility will be provided by the corporation.

- The pre-receipted bills in duplicate for payment shall be produced after one month.

- 100% payment shall be released by the concerning Executive Engineer (Distribution) subject to availability of funds.

- In case the firm fails to provide staff for more than fifteen days continuously action termination of order and other panel action will be taken by the department.

- All dispute arising out of hand touching or relating to the subject matter of this order shall be the Jurisdiction of Local Court of Fatehpur and High Court of Judicature at Allahabad.

- Income tax at source as applied by under rules shall be deducted from the contractor’s bill as per income tax rule and same shall be deposited with the Government. A certificate of the recoveries will be issued to the Contractor for such deduction on the request of tendered by the Contractor.

- The Contractor shall not employ female labour in the operation of sub-station or any part there of within the limit of Cantonment. The Contractor shall also not employ the labour below the age of 18 years.

- No compensation for idle labour shall be paid under any circumstances. Compensation owing to accident/incidental to works shall be paid by the contractor at his own without any reference to departmental and conditional obligation for such compensation shall be sole responsibility of the contractor. Damage caused to the works shall be recovered in full from the contractor.

- These above condition shall be read & construed along-with the General condition in standard form ‘A’ annexed but in case there shall be any conflict and inconsistency between these special condition & of form ‘A’ these shall prevail.

- The attendance register shall be maintained for the staff and submitted daily to the Engineer incharge for verification.

- All instruction required for checking measuring etc. shall be arranged by the contractor and a copy of the same will be pasted in Sub-station.

- In addition to above any other duties assigned by the J.E. shall be carried out by the staff deployed by the contractor free of cost.

- If the successful contractor fails to execute the work at any stage, in that event the work shall be got executed from other outer agency, for which extra expenditure plus 15% supervision charges thereon shall be recovered from the contractor’s bill and the security shall be forfeited.

| Signature of Contractor with seal |  | Superintending Engineer |
| --- | --- | --- |

SPECIAL CONDITION OF WORK & RESPONSIBILITY OF CONTRACTOR’S

1.   No contractor shall be eligible to enter into contract with PUVVNL unless he has obtained license under the contract labour (Regulation & Abolition) Act : 1970 and as amended from time to time. The contractor shall have labour commissioner for engaging labour which should be valid at least for agreement period. The photocopy of registration certificate shall be produced by the contractor with the tender document or taking up the work in hand.

- The contractor should also be registered with EPF Commissioner and will have to deposit the amount of EPF deducted by him from the monthly wages of his labour in the office of EPF Commissioner every month and photocopy of the same will have to be produced to the concerned Executive Engineer.

- Preference shall be given to registered co-operative society of employees of UPSEB/UPPCL and also to the ITI passed apprentice/trainees having work experience in the department.

- Apart from above the contractor also be required to get registered with the concerning authorities Service Tax in respect of his contract.

- It shall be the sole responsibility of the contractor to ensure compliance of all labour, industrial and other enactments, rules and orders in force regarding conditions of labour, supply of goods, safety and security of people and property etc.

- The contractor shall ensure the staffs engaged by him possess the necessary authorization from the competent authority to carry out the Job under the Indian Electricity Rules-1956 and other rules/orders  inforce by UPPCL/PUVVNL time to time.

- The contractor shall insure that staff engaged by him possess identify card, entry pass duly signed by the authority designated by Engineer of Contract.

- The contractor will issue character certificate as well as identity card duly signed by the Executive Engineer in respect of each employee provided by him and he will be responsible for any mischief committed by any of his labour.

- The certificate of labour engaged by the contractor regarding educational qualification i.e. ITI Diploma in Electrician Trade/Wiremen Trade shall be required to be submitted within a week of entering into agreement of prior engaging the same on the Substation.

- Contractor shall submit name, father’s name and address of each member with self attested Photo of incumbent of the gang within a week of entering into agreement of prior engaging the same on the Substation.

- All T&P required for proper completion of assigned work, shall be arranged and provide to his labour by the contractor himself at his own cost. However, all the required the stock material/component for proper completion of work shall be arranged & provided by the Deptt. free of cost.

- The contractor shall be responsible for the execution of contract(work) in accordance with the terms and condition of Form ‘A’ prescribed by the Corporation.

- In case of delays in attending the break down penalty @ 200 per hour or part there of shall be levied and deducted from contractor’s bills. For any breakdown due to contractor’s negligence/poor maintenance, penalty @ 200 per hour of part there of shall be levied and deducted from his bills.

- The contractor shall arrange proper tools, plants, equipments, workmen etc. necessary for the work at his cost.

- The contractor shall be required to satisfy the Engineer of Contract and Director, Electricity Safety in respect of arrangements made by him for safety & security of tools, equipments & staff etc. he shall follow forthwith the instructions issued in these matters by the Engineer of contract as well Director Electricity Safety.

- The contractor will be required to pay minimum wages of the employees engaged by him for the said purpose according to the rates approved by the labour commissioner and also amendment, if any from time to time.

- The wages of the labour will be paid by the contractor through cheque in the first week of every month.

- The payment of the Ex-Gratia will also be made to his labour by the contractor, if it is found legally payable as per labour act rules.

- Contractor shall be solely responsible to provide statutory welfare measure to staff engaged by him.

- All charges/compensation on account of damages, loss, theft or accident to be paid as per factory act shall be born by the contractor and he shall be solely responsible for making payment to claimants.

- The contractor shall be obliged to discharge his liabilities under the contractor most diligently & effectively, in case he fails, the UPPCL/PUVVNL shall be free to take decision in this regard including assigning the task to some other person/agency and terminating agreement. The contractor shall be responsible to bear the consequences of the same including and financial liability.

- The Corporation shall have the right to recover from the contractor any damage to the equipment/property of PUVVNL while carrying out the job. Contractor shall be responsible to make good any damage to the equipment/property of PUVVNL free of cost and if the contractor fails to do the needful the corporation shall be act liberty to recover the cost of damage/loss from the contractor in the manner deemed fit.

Contd. on Page-2

-2-

- No claim shall be entertained for the labour rendered idle due to stoppage or suspension of work or delay in payment for any reason whatsoever. The companion owing to accident/incident during execution of work shall be paid by the contractor at his own without any reference to UPPCL/PUVVNL and constitutional obligation for such compensation shall be sol responsibly of the contractor. The damage if any caused to the department/work T&P by the contractor himself or by the staff shall be recovered in full from the pending bill/ liability of the contractor.

- Payment of running bill shall be made monthly. The payment will be made only after getting the documentary evidence for deposit towards ESIC/PF.

- The will maintained a register for lodging all the events at the substation . He shall also pride the details every month to the concerted Junior Engineer.

- The skilled and unskilled labour being engaged by the contractor shall in no case be instilled for regular services of the corporation/PUVVNL.

- The contractor shall be fully responsible for arising accidental insurance policy for the compensation of his working personal if required as the corporation/PUVVNL shall not be held responsible for any compensation to his labour in the event of any accident/ mishap whatsoever. The compensation owing to accident / incident during of work shall be sole responsibility of contractor the damager if any/ caused to the department/work/T&P by the contractor himself or his staff shall be recovered in full from the pending bills/ liability of contractor.

- The contractor shall be confirm in respect to the requirement of chief Electrical inspector to U.P. Government as and when required by them in respect to Electrical safety rules and regulation

- Complete work/quantity as per tender specification shall be executed/carried out and it will be insured by the contractor maintenance of lines/feeders properly strictly as per norms prevailing in the corporation/PUVVNL.

- Payment shall be released after 100% measurement/ checking offer by the competent  authority.

31.  Income Tax clearance certificate shall be submitted by the contractor along with the tender. A copy of income tax registration certificate shall also be required to be submitted alongwith the tender.

32.  The long sheets and other requisite registers and stationary as well as other material/spares required

for attending maintenance /breakdowns shall be supplied by the department and the account of  their consumption    shall be given by the Engineer Incharge of the Division.

- Income tax/other deductions as per UPPCL/PUVVNL rules shall be deducted from the contractor’s bill as per state/central government rate prevailing in the Depth.

- The Executive Engineer of the concerned Division shall be the main part of the contract and the concerned Sub-Divisional Officer shall function as Engineer Incharge of the contract. The work shall be got carried out as per rules by the contractor in strict supervision and to the entire satisfaction of Engineer Incharge of the division/ or Sub-Division officer concerned.

- Service Tax will be paid by the department, as legally applicable, to the Contractor on presentation of verified rates of Service Tax from appropriate authority.

- The prices are firm and no any other charges shall be paid extra to the contractor.

- No experience certificate will be issued by any officer of the corporation to any employee of the contractor.

- The PUVVNL Engineer of contract may at any time terminate the contract without any notice/payments in lieu there of or assigning any reason therof.

- In case of any dispute between the parties Concerned, Executive Engineer concerned shall be sole arbitrator and his decision shall be final & binding on both parties.

- xSx es j[ks tkus okys dqyh es fy[kus i<us dh ;ksX;rk gksuh pkfg,A

- deZpkjh Hkfo’; fuf/k ,oa jkT; chek fuxe }kjk fuxZr ;kstuk ds rgr ,dkmUV j[kuk t:jh gSA

- miZ;qDr ,dkmUV j[kuk vko”;d gS vkSj Bsdsnkj ;fn ,slk u djs rks mlds fo:} fu;ekuqlkj fof/kd dk;Zokgh dh tk;sxh tks fd ,Q0vkbZ0vkj0 ntZ djkus rd gks ldrh gSA

| Signature of Contractor with seal |  | Superintending Engineer |
| --- | --- | --- |

DETAILS OF RECORDS TO BE MAINTAINED AT SUB-STATION

The following Registers Records shall be maintained at each of the station:-

- The Daily, Monthly, Six Monthly, Yearly Register.

- Daily Log Sheets for voltage, Current & Power factor etc. on prescribed Proforma-1.

- Maintenance of stoppage report Register showing shutdowns and breakdowns daily on Proforma-2(A), Monthly on Proforma No. 2(B).

- Abstract of Monthly stoppage of each of state Tube well on Proforma No. 2(C).

- Plant Register of Equipment containing history of maintenance of equipment in the following sequence:-

| (i) | Switchgears |  | (iv) | C.T. |
| --- | --- | --- | --- | --- |
| (ii) | Isolators |  | (v) | Lighting Arrester |
| (iii) | P.T. |  | (vi) | Capacitors |

- Testing Register.

- Battery Register Specific gravity, voltage of each cell (Proforma No. 3)

- Minimum and Maximum Load Register

  - Daily on Proforma No. 4 (A)

  - Monthly on Proforma No. 4 (B)

  - Relevant Graphs.

- Loss Register Proforma No. 6, Register for feeder wise energy sold Proforma No. 6 (A)

- Register of Meter Reading of Sample Meter of P.T.W. & S.T.W. Proforma No. 6(B).

- Register of authorization Proforma No. 7.

- Statistics of Feeder Proforma No. 8

- Movement Register of Staff Proforma No. 9

- Complaint Register:-

    - For State Tube well on Proforma No. 10

    - For P.T.W & Rural Consumers on Proforma No. 11

    - For Light Fan Consumers

- Meter Reading of Sub-Stations.

- Register of over Hauling of Feeders on Proforma No. 12

- Inspection Register Proforma No. 14

- Patrolling Register on Proforma No. 13 at Sub-Station

- Message Register

- Theft Register Proforma No. 20

- Accident Register Proforma No. 21

- History Card Register for Distribution Transformers.

| Signature of Contractor with seal |  | Superintending Engineer |
| --- | --- | --- |

fo”ks’k fu;e ,oa “krsZa

- fuxe ds vkns”k la[;k&1398&dk;Z@pkSng&ikdkfy@2009&37&ds@2001 fnukad 14@12@2009 dk vuqikyu dMk+bZ ls lqfuf”pr~ fd;k tk;sxkA

- Bsdk Jfed ¼fofue; ,oa mUewyu½ vf/kfu;e 1970 dh /kkjk&12 ds vUrxZr vuqefr i= ¼ykblsUl½ izkIr/kkjh rFkk vU; laxr vf/kfu;eksa rFkk deZpkjh Hkfo’; fuf/k vf/kfu;e vkfn esa lEcfU/kr QeZ iathd`r gSA

- okg~; ,tsUlh ¼Bsdsnkjksa@lafonkdkjksa½ }kjk fu;ksftr dkfeZdksa dks lle; U;wure etnwjh vf/kfu;e ds vuqlkj ns; /kujkf”k dk Hkqxrku psd }kjk lqfuf”pr fd;k tk;sxkA

- okg~; ,tsUlh }kjk lafonk dkfeZdksa ds nq?kZVukxzLr gksus ij fu;ekuqlkj {kfriwfrZ dk Hkqxrku ,oa lafonk dkfeZdksa dk chek Bsdsnkj }kjk djk;k tkuk izR;sd n”kk esa vfuok;Z :i ls lqfuf”pr fd;k tk;sxkA

- izf”kf{kr lafonk dkfeZdksa dk fu;kstu Bsdsnkj@lafonkdkj ls djk;k tk;sxkA

- Bsdsnkj@lafonkdkj dks Hkqxrku fd;s tkus ij Hkqxrku frfFk ij ;g lqfuf”pr fd;k tk;s fd Bsdsnkj }kjk vius lafonkdkfeZ;ksa dks etnwjh ds js[kkafdr psd fuxZr dj fn;s x;s gS vFkok lEcfU/kr dfeZ;ksa ds cSad [kkrs esa lh/ks tek djus dh dk;Zokgh dj nh x;h gSA

- lafonkdkj@Bsdsnkj dks lafonk ds Hkqxrku ls iwoZ ;g lqfuf”pr fd;k tk;sxk fd lEcfU/kr lafonk dkfeZ;ksa ds lEcU/k esa bZ0ih0,Q0 dh dVkSrh dk Hkqxrku iz”kklfud O;; ,oa fu;ksDrk va”knku lfgr lEcfU/kr Hkfo’; fuf/k vk;qDr ds dk;kZy; es tek dh tk pqdh gS rFkk bldh ikorh fcy ds lkFk layXu gSA

- Bsdsnkj@lafonkdkj ds ek/;e ls midsUnz ifjpkyu dk;Z esa yxk;s x;s lafonk dkfeZ;ksa dks phQ bysfDVªdy bUlisDVj ;w0ih0 xoZuesUV ds }kjk fu/kkZfjr lqj{kk ekudksa ds vuq:Ik vko”;d Vh0 ,.M ih0] lqj{kk midj.k vkfn dh O;OkLFkk lafonkdkj }kjk lqfuf”pr djk;h tk;sxhA

- ?kkrd rFkk v?kkrd fo|qr nq?kZVuk gksus dh fLFkfr esa lafonkdkfeZ;ksa dks {kfriwfrZ Hkqxrku djus dk izFke ,oa vfUre nkf;Ro Bsdsnkj@lafonkdkj dk gSA bl O;oLFkk dks lqfuf”pr djk;s tkus gsrq Bsdsnkj@lafonkdkj }kjk lafonkdfeZ;ksa ds lEcU/k esa  ?kkrd@v?kkrd fo|qr nq?kZVuk ls gqbZ e`R;q@”kkjhfjd gkfu dk nq?kZVuk chek djk;k tkuk vfuok;Z gksxk ftldh jlhn vkgj.k forj.k vf/kdkjh dks izLrqr djuk vfuok;Z gksxkA

- fuxe vkns”k la0 3617&v0l0&07&25¼2½@,,l@2006] fnukad&30-10-06 ,oa vkns”k la0& 1028@vkS0l0&07&26¼2½@,0,l0] fnukad 11-05-09 ,oa Bsdk Jfed ¼fofue; ,oa mUewyu½ vf/kfu;e] 1970 esa fn;s x;s funsZ”kksa ,oa le;&le; ij ;Fkk la”kksf/kr vkns”kksa esa fd;s x;sa izfo/kkuksa dk iw.kZikyu djk;k tkuk lqfuf”pr fd;k tk;sxk] ftldk fdlh izdkj ls dksbZ mYy?ku ugha fd;k tk;sxkA

- lEcfU/kr ,stsUlh@Bsdsnkj ls dkjiksjs”ku ds vkns”kkas@fof/kd O;oLFkkvksa ,oa vuqcU/k ds vuq:i fu;ksftr lafonk dkfeZdksa ds lEcU/k esa lsok&”krksaZ@psd ls Hkqxrku@bZ0ih0,Q0@deZdkj chek vkfn dk ikyu djkuk lqfuf”pr fd;k tk;s] ;fn fufonknkrk }kjk ikyu ugha djrk gS rks mudk vuqcU/k fujLRk djrs gq, ,stsUlh@Bsdsnkj dks dkyh lwph es Mkydj muds fo:} vkijkf/kd vf/kfu;eksa lfgr vU; dk;Zokgh lqfuf”pr dh tk;sA

- fuxekns”k i= la0&189@ih0,l0lh0,p0@2007] fnukad&08-02-07 135@ih0,l0lh0,p0@2007] fnukad&27-02-07] 2534@vkSal@2007] fnukad&15-11-07] 4465@vkSl@2007] fnukad&10-01-08] 566@vkSl@2007] fnukad&27-02-08] 4416@vkSl@2007] fnukad&04-10-08] 1028@vkSl@2007] fnukad&11-05-09] 3617@vkSl@2007] fnukad&30-10-09] 1058@vkSl@2009] fnukad&22-03-10] 1738@vkSl@10] fnukad&11-05-2010] 4146@vkSl@2010- fnukad&25-10-10] 4353@vkSl@2010] fnukad&14-12-10 ,oa 616@vkSl@2011] fnukad&25-10-10] 4353@vkSl@2010] fnukad&14-12-10 ,oa 616@vkSl@2011] fnukad&03-03-2011 es fn;s x;s izkfo/kkuksa@funsZ”kks dk dM+kbZ ls ikyu ls lqfuf”pr fd;k@djk;k tk;sA

- vkgj.k forj.k vf/kdkjh izR;sd ekg dh 07 rkjh[k rd lafonk dfeZ;ksa ds Hkqxrku gsrq fuf/k ekax&i= chtd dh Nk;kizfr ds lkFk v/kh{k.k vfHk;Urk ,oa eq[; vfHk;Urk¼fo0½] ds ek/;e ls izcU/k funs”kd] okjk.klh dks izsf’kr djuk lqfuf”pr djsaxsA

- mijksDr lHkh fu;e “krkZs dk v{kj”k% ikyu vf/k”kk’kh vfHk;Urk ¼forj.k½ }kjk fd;k tk;sxkA

- Qkbusal ,DV 2012 ds lsok dj lEcU/kh micU/kks@fu;eks&mifu;eks dk ikyu lEcfU/kr [k.Mh; Lrj ij lqfuf”pr~ djk;k tk;sxkA

Bsdsnkj ds gLrk{kj      				                      v/kh{k.k vfHk;Urk

# TECHNICAL SPECIFICATION FOR MAINTAINANCE/OPERATION OF H.T. & L.T. LINES

- Restoration of broken/damaged/lines(33 Kv, 11Kv, L.T. line’s).

- Replacement of damaged/blowen Fuses & Jumper’s of 33 Kv, 11 Kv & L.T. line.

- To attend the consumer’s complaint.

- To attend the fault from break-down lines including replacement of insulators etc.

- Maintenance of 33 Kv, 11 Kv, L.T. line’s and Distribution Transformer in town Sub division in day & night time for 8 hrs by a team comprising of one person equivalent to Lineman/Skilled Coolie and 2 Nos. unskilled Coolies / Coolie’s in each shift. Necessary assistance have been given by the maintenance gang to the teams who is working on replacement of transformers as and when required as per instruction of concerned S.D.O.

- Shut down of respective lines, shall be issued by sub-station operator (S.S.O.) to contractor’s Staff i.e. Lineman/Skilled Coolie only.

- Prior to start works, gang will ensure that properly shut down has been taken breaker trolly is in out position & line is properly earthed.

- All materials required for maintenance shall be provided by Department and contractor shall arrange proper T&P and equipments required for maintenance and safety precautions.

- The team shall also maintain the details about all the consumer of their sub-station like Name, Address, Connection No., Arrears etc. of each feeder of sub-station.

- The disconnection/re-connection of defaulting consumer shall also be carried out by this team as per instruction of JE/SDO/EE concerned. Assistance regarding collection of revenue shall also be given by this team.

- Any other associated works as per site requirement or instruction issued by the officers.

| SIGNATURE OF TENDERER |  | SUPERINTENDING ENGINEER |
| --- | --- | --- |

QhMjksa ls fudyus okyh ykbuksa ds vuqj{k.k dk;Z gsrq fo”ks’k “krsZ

- Bsdsnkj@QeZ dk ;g mRrjnkf;Ro gksxk fd mlds }kjk dk;Z ij yxk;s x;s dkfeZdksa dks igpku i=] izos”k i= fuxZr djsxsa ftls dkfeZd lnSo vius ikl j[ksxkA

- fuxe }kjk fu/kkZfjr QkeZ ^^,** ,ao ^^ch** ds lHkh fu;eksa ,ao “krksZa dk fufonknkrk }kjk vuqikyu djuk vfuok;Z gksxkA

- yscj ,DV ds vUrZxr gksus okyh fdlh Hkh {kfr@uqdlku] pksjh ,ao nq?kZVuk ls lEcfU/kr leLr vuqxzg jkf”k dk Hkqxrku nkosnkj dks djus ds fy, fufonknkrk iw.kZ:Ik ls ftEesnkj gksxkA

- vuqcU/k ds vUrZxr iz;qDr lHkh mRrjnkf;Roksa dk rRijrk ls fu’BkiwoZd fufonknkrk fuoZgu djsxk] ;fn fufonknkrk vlQy gksrk gS rks bl lEcU/k esa dqN Hkh fu.kZ; ysus gsrq fuxe Lora+= gksxk] ftlesa dk;Z dks vU; ls dkjk;k tkuk Hkh “kkfesy gS] ,slh fdlh Hkh ifjfLFkfr ds fuoZgu gsrq foRrh; nkos lfgr fufonknkrk iw.kZ:is.k ftEesnkj gksxkA

- dk;Z ds nkSjku fuxe fdlh Hkh la;=a@lEifRr dh {kfr gksus ij mldh ykxr fufonknkrk ls olwyus gsrq fuxe@vuqcU/k vf/kdkjh vf/kd`r gksxkA

- Hkqxrku esa foyEc vkfn ls mRiUu dkj.kksa ds vUrZxr dksbZ Hkh nkok Lohdkj ugh fd;k tk;sxkA

- pkyw chtdksa dk Hkqxrku jfuax¼ekgokj½ fd;k tk;sxkA

- fuxe@vuqcU/k vf/kdkjh dks fdlh Hkh le;] fcuk dkj.k crk;sa fd;s x;s vuqcU/k dks fujLr djus dk iw.kZ vf/kdkj gksxkA

- fufonknkrk ,ao vuqcU/kdrkZ ds chp mRiUu fookn ds fuLrkj.k gsrq eq[; vfHk;Urk ¼forj.k½] bykgkckn {ks=] bykgkckn gh U;k;kf/kdkjh gksxk vkSj mldk fu.kZ; vfUre gksxk rFkk nksukssa dks ekU; gksxkA

- okg~; ,tsUlh }kjk lsok;ksftr dkfeZdksa dh vk;q lhek 18 o’kZ ls 50 o’kZ ds chp gksuh pkfg,A

- dk;Z ds nkSjku fdlh izdkj dh nq?kZVuk vkfn dh {kfriwfrZ dk mRrjnkf;Ro lEcfU/kr Bsdsnkj ¼okg~; ,tsUlh½ dk gksxkA blds fy, okafNr chek djkuk vfuok;Z gksxkA

- okg~; ,tsUlh] foHkkx dks ;g Hkh izek.k i= miyC/k djk;sxh fd os Hkfo’; esa lsok;kstu lEcU/kh fdlh Hkh izdkj dk okn iwokZUpy fo|qr forj.k fuxe fyfeVsM] okjk.klh ds fo:} nk;j ugha djsxsa] ftlds ifjis{; esa muds }kjk j[ks x;s dkfeZdksa }kjk fyf[kr izk:Ik esa izek.k i= izkIr dj izfr foHkkx dks miyC/k djkuh gksxhA

- U;wure etnwjh vf/kfu;e ds vuqikyu gsrq okg~; ,tsUlh }kjk dkfeZdksa dk cSad [kkrk [kqyokdj Hkqxrku js[kkafdr psd ds ek/;e ls cSad esa tek djkuh gksxhA lEcfU/kr vf/k”kk’kh vfHk;Urk ;g Hkh lqfuf”pr djsxsa fd okg~; ,tsUlh }kjk vuqcfU/kr dkfeZdksa dks izR;sd ekg ds izFke lIrkg esa etnwjh dk iwjk Hkqxrku fd;k tk jgk gS vFkok ugh ?

- okg~; ,tsUlh ds dkfeZdksa dks voj vfHk;Urk@mi[k.M vf/kdkjh@vf/k”kk’kh vfHk;Urk ds funsZ”ku esa dk;Z djuk gksxkA

- okg~; ,tsUlh }kjk miyC/k djk, x;s dkfeZdksa dks fuxe fgr esa fdlh Hkh midsUnz ij rSukr fd;k tk ldrk gSA

- okg~; ,tsUlh@Bsdsnkj dks vius dkfeZdksa dks ekg ds izFke lIrkg esa ikfjJfed dk Hkqxrku djuk gksxk] vU;Fkk dh fLFkfr esa ikfjJfed dh /kujkf”k Bsdsnkj }kjk tek dh xbZ /kjksgj /kujkf”k@tek dh x;h tekur jkf”k ls dkV fy;k tk;sxkA

Bsdsnkj ds gLrk{kj								 v/kh{k.k vfHk;Urk

fo”ks’k fu;e ,oa “krsZa

- fuxe ds vkns”k la[;k&1398&dk;Z@pkSng&ikdkfy@2009&37&ds@2001 fnukad 14@12@2009 dk vuqikyu dMk+bZ ls lqfuf”pr~ fd;k tk;sxkA

- Bsdk Jfed ¼fofue; ,oa mUewyu½ vf/kfu;e 1970 dh /kkjk&12 ds vUrxZr vuqefr i= ¼ykblsUl½ izkIr/kkjh rFkk vU; laxr vf/kfu;eksa rFkk deZpkjh Hkfo’; fuf/k vf/kfu;e vkfn esa lEcfU/kr QeZ iathd`r gSA

- okg~; ,tsUlh ¼Bsdsnkjksa@lafonkdkjksa½ }kjk fu;ksftr dkfeZdksa dks lle; U;wure etnwjh vf/kfu;e ds vuqlkj ns; /kujkf”k dk Hkqxrku psd }kjk lqfuf”pr fd;k tk;sxkA

- okg~; ,tsUlh }kjk lafonk dkfeZdksa ds nq?kZVukxzLr gksus ij fu;ekuqlkj {kfriwfrZ dk Hkqxrku ,oa lafonk dkfeZdksa dk chek Bsdsnkj }kjk djk;k tkuk izR;sd n”kk esa vfuok;Z :i ls lqfuf”pr fd;k tk;sxkA

- izf”kf{kr lafonk dkfeZdksa dk fu;kstu Bsdsnkj@lafonkdkj ls djk;k tk;sxkA

- Bsdsnkj@lafonkdkj dks Hkqxrku fd;s tkus ij Hkqxrku frfFk ij ;g lqfuf”pr fd;k tk;s fd Bsdsnkj }kjk vius lafonkdkfeZ;ksa dks etnwjh ds js[kkafdr psd fuxZr dj fn;s x;s gS vFkok lEcfU/kr dfeZ;ksa ds cSad [kkrs esa lh/ks tek djus dh dk;Zokgh dj nh x;h gSA

- Bsdsnkj@lafonkdkj ds ek/;e ls midsUnz ifjpkyu dk;Z esa yxk;s x;s lafonk dkfeZ;ksa dks phQ bysfDVªdy bUlisDVj ;w0ih0 xoZuesUV ds }kjk fu/kkZfjr lqj{kk ekudksa ds vuq:Ik vko”;d Vh0 ,.M ih0] lqj{kk midj.k vkfn dh O;OkLFkk lafonkdkj }kjk lqfuf”pr djk;h tk;sxhA

- ?kkrd rFkk v?kkrd fo|qr nq?kZVuk gksus dh fLFkfr esa lafonkdkfeZ;ksa dks {kfriwfrZ Hkqxrku djus dk izFke ,oa vfUre nkf;Ro Bsdsnkj@lafonkdkj dk gSA bl O;oLFkk dks lqfuf”pr djk;s tkus gsrq Bsdsnkj@lafonkdkj }kjk lafonkdfeZ;ksa ds lEcU/k esa  ?kkrd@v?kkrd fo|qr nq?kZVuk ls gqbZ e`R;q@”kkjhfjd gkfu dk nq?kZVuk chek djk;k tkuk vfuok;Z gksxk ftldh jlhn vkgj.k forj.k vf/kdkjh dks izLrqr djuk vfuok;Z gksxkA

- lEcfU/kr ,stsUlh@Bsdsnkj ls dkjiksjs”ku ds vkns”kkas@fof/kd O;oLFkkvksa ,oa vuqcU/k ds vuq:i fu;ksftr lafonk dkfeZdksa ds lEcU/k esa lsok&”krksaZ@psd ls Hkqxrku@bZ0ih0,Q0@deZdkj chek vkfn dk ikyu djkuk lqfuf”pr fd;k tk;s] ;fn fufonknkrk }kjk ikyu ugha djrk gS rks mudk vuqcU/k fujLRk djrs gq, ,stsUlh@Bsdsnkj dks dkyh lwph es Mkydj muds fo:} vkijkf/kd vf/kfu;eksa lfgr vU; dk;Zokgh lqfuf”pr dh tk;sA

- fuxekns”k@dkjiksjs'ku ds }kjk tkjh fd;s x;s izkfo/kkuksa@funsZ”kks dk dM+kbZ ls ikyu ls lqfuf”pr fd;k@djk;k tk;sxkA

- Qkbusal ,DV 2012 ds lsok dj lEcU/kh micU/kks@fu;eks&mifu;eks dk ikyu lEcfU/kr [k.Mh; Lrj ij lqfuf”pr~ djk;k tk;sxkA

- lafonkdkj@Bsdsnkj }kjk izLrqr fcy es fu;ekuqlkj tksM+k x;k lfoZl VSDl o le;&le; ij Je vk;qDr] m0iz0] dkuiqj }kjk ifjorZuh; egxkabZ HkRrk dk Hkqxrku ns; gksxkA

- vkgj.k forj.k vf/kdkjh izR;sd ekg dh 07 rkjh[k rd lafonk dfeZ;ksa ds Hkqxrku gsrq fuf/k ekax&i= chtd dh Nk;kizfr ds lkFk v/kh{k.k vfHk;Urk ,oa eq[; vfHk;Urk¼fo0½] ds ek/;e ls izcU/k funs”kd] okjk.klh dks izsf’kr djuk lqfuf”pr djsaxsA

- mijksDr lHkh fu;e “krkZs dk v{kj”k% ikyu vf/k”kk’kh vfHk;Urk ¼forj.k½ }kjk fd;k tk;sxk rFkk lafonkdkj@Bsdsnkj dks izR;sd ekg Hkqxrku ls iwoZ ;g lqfUkf”pr fd;k tk;sxk fd lEcfU/kr lafonk dkfeZ;ksa ds osru ls foxr ekg esa dh xbZ bZ0ih0,Q0 dh dVkSrh dk Hkqxrku iz”kklfud O;; lfgr lEcfU/kr Hkfo’; fuf/k vk;qDr ds dk;kZy; esa tek dh tk pqdh gS rFkk bldh ikorh fcy ds lkFk laYkXu gSA

Bsdsnkj ds gLrk{kj      				                      v/kh{k.k vfHk;Urk

"PART-II"

Schedule of Quantity & Prices Against Tender No. 86 /EDCF/16-17 for the Supply of Operation Work of 33/11KV Sub-Stations & Maintanance Gang for Maintance Work of 33 KV, 11 KV, LT Lines, Power & Distribution Transformers, which ementing from 33/11KV Various Sub-Stations Under EDSD-Ist, Fatehpur town in EDD-I, Fatehpur w.e.f. 01-04-17 to 31-03-18 (1 Year):-

Earnest Money Rs. - 30000.00                                                                      Date Of Opening:- 10-03-2017

| Sl. No. | # Particulars | No Of Worker | Rate Per Month (Rs.) | Amount (Rs.) |
| --- | --- | --- | --- | --- |
| A- | Operation Work of 33/11KV Sub-Stations |  |  |  |
|  | Operation of 33/11 KV Sub-stations, round the clock in 3 shifts of 8:00 hours each by a One Operator having minimum qualification of ITI (Electrician grade) and in each shifts for operation of Sub-station, equipments and maintenance of records as detailed in Technical specifications. (Operation of Substation means operating 33/11 KV Switchgears, Transformers & other equipments installed at the substation including keeping them in neat & clean condition. The operator shall also attend the telephone calls, note down the complaints received from public and will get it noted to the staff concerned for attending the same. The operator shall fill up the log book and other relevant substation registers. The operator will also be responsible for giving shutdowns and returning back shutdowns etc.) | 15 |  |  |
| B | Maintenance work of 33 Kv, 11 kv, L.T. Lines, Power and distribution Transformer, disconnection of Consumers cable Line emanating from points for which the so called Maintenance Gang having 1 skilled+ 2 Unskilled workers, will be engaged. |  | Rate Per worker (Rs.) | Amount (Rs.) |
|  | - No of Skilled Worker | 31 |  |  |
|  | - No of Unskilled Worker | 62 |  |  |

1½  Service Tax:-

2½  D.A. Variable:-

###### “krsZ& Bsdsnkj dks fuEufyf[kr “krksZ dk ikyu djuk vfuok;Z gksxk%&

- Bsdsnkj }kjk vius dkfeZdksa dks izfrekg U;wure etnwjh ,ao le; & le; ij ifjorZuh; eagxkbZ HkRrk ds vuqlkj deZpkjh Hkfo’; fuf/k dh dVkSrh ds mijkUr ns; osru dk Hkqxrku jsa[kkfdr pssd ds ek/;e ls djuk gksxkA

- miyC/k djk;s x;s dkfeZdksa dk deZpkjh lqj{kk chek ,ao nq?kZVuk chek djkuk gksxkA

- dkfeZdksa ds osru ls dkVh x;h Hkfo’; fuf/k ,ao fu;ksDrk dh fuf/k;ksa dk Hkqxrku deZpkjh Hkfo’; fuf/k laxBu dks lle; djuk gksxkA

- yscj ,DV ,ao le;&le; ij m0iz0 ikoj dkjiksjs”ku@iwokZaUpy fo|qr forj.k fuxe fy0 }kjk tkjh vkns”kksa dk vuqikyu lqfuf”pr djuk gksxkA

- Bsdsnkj }kjk ,sls dkfeZd dh vkiwfrZ dh tk;sxh ftUgsa iksy ij p<+us] ,p0Vh0 o ,y0Vh0 ykbu ds dk;Z dk Kku gksuk vko”;d gSA

- ifjpkyu ,oa vuqj{k.k xSax esa j[ks tkus okys izR;sd dkfeZdksa esa i<+us&fy[kus dh ;ksX;rk gksuh pkfg,A

- flD;ksfjVh@tekur /kujkf”k :0 12-00 yk[k vuqcU/k ds le; ,Q0Mh0vkj0@Vh0Mh0vkj0 ds :i es dk;Znk;h laLFkk dks **v/kh{k.k vfHk;URkk] fo?kqr forj.k e.My] Qrsgiqj** ds i{k es v?kksgLrk{kjh ds dk;Zky; es tek djuk vfuok;Z gksxkA

|  |  | Bsdsnkj ds gLrk{kj eqgj lfgr |
| --- | --- | --- |

"PART-II"

Schedule of Quantity & Prices Against Tender No. 87 /EDCF/16-17 for the Supply of Operation Work of 33/11KV Sub-Stations & Maintanance Gang for Maintance Work of 33 KV, 11 KV, LT Lines, Power & Distribution Transformers, which ementing from 33/11KV Various Sub-Stations Under EDSD-IInd, Radha Nagar in EDD-I, Fatehpur w.e.f. 01-04-17 to 31-03-18 (1 Year):-

Earnest Money Rs. - 23000.00                                                                      Date Of Opening:- 10-03-2017

| Sl. No. | # Particulars | No Of Worker | Rate Per Month (Rs.) | Amount (Rs.) |
| --- | --- | --- | --- | --- |
| A- | Operation Work of 33/11KV Sub-Stations |  |  |  |
|  | Operation of 33/11 KV Sub-stations, round the clock in 3 shifts of 8:00 hours each by a One Operator having minimum qualification of ITI (Electrician grade) and in each shifts for operation of Sub-station, equipments and maintenance of records as detailed in Technical specifications. (Operation of Substation means operating 33/11 KV Switchgears, Transformers & other equipments installed at the substation including keeping them in neat & clean condition. The operator shall also attend the telephone calls, note down the complaints received from public and will get it noted to the staff concerned for attending the same. The operator shall fill up the log book and other relevant substation registers. The operator will also be responsible for giving shutdowns and returning back shutdowns etc.) | 18 |  |  |
| B | Maintenance work of 33 Kv, 11 kv, L.T. Lines, Power and distribution Transformer, disconnection of Consumers cable Line emanating from points for which the so called Maintenance Gang having 1 skilled+ 2 Unskilled workers, will be engaged. |  | Rate Per worker (Rs.) | Amount (Rs.) |
|  | - No of Skilled Worker | 22 |  |  |
|  | - No of Unskilled Worker | 44 |  |  |

1½  Service Tax:-

2½  D.A. Variable:-

###### “krsZ& Bsdsnkj dks fuEufyf[kr “krksZ dk ikyu djuk vfuok;Z gksxk%&

- Bsdsnkj }kjk vius dkfeZdksa dks izfrekg U;wure etnwjh ,ao le; & le; ij ifjorZuh; eagxkbZ HkRrk ds vuqlkj deZpkjh Hkfo’; fuf/k dh dVkSrh ds mijkUr ns; osru dk Hkqxrku jsa[kkfdr pssd ds ek/;e ls djuk gksxkA

- miyC/k djk;s x;s dkfeZdksa dk deZpkjh lqj{kk chek ,ao nq?kZVuk chek djkuk gksxkA

- dkfeZdksa ds osru ls dkVh x;h Hkfo’; fuf/k ,ao fu;ksDrk dh fuf/k;ksa dk Hkqxrku deZpkjh Hkfo’; fuf/k laxBu dks lle; djuk gksxkA

- yscj ,DV ,ao le;&le; ij m0iz0 ikoj dkjiksjs”ku@iwokZaUpy fo|qr forj.k fuxe fy0 }kjk tkjh vkns”kksa dk vuqikyu lqfuf”pr djuk gksxkA

- Bsdsnkj }kjk ,sls dkfeZd dh vkiwfrZ dh tk;sxh ftUgsa iksy ij p<+us] ,p0Vh0 o ,y0Vh0 ykbu ds dk;Z dk Kku gksuk vko”;d gSA

- ifjpkyu ,oa vuqj{k.k xSax esa j[ks tkus okys izR;sd dkfeZdksa esa i<+us&fy[kus dh ;ksX;rk gksuh pkfg,A

- flD;ksfjVh@tekur /kujkf”k :0 10-00 yk[k vuqcU/k ds le; ,Q0Mh0vkj0@Vh0Mh0vkj0 ds :i es dk;Znk;h laLFkk dks **v/kh{k.k vfHk;URkk] fo?kqr forj.k e.My] Qrsgiqj** ds i{k es v?kksgLrk{kjh ds dk;Zky; es tek djuk vfuok;Z gksxkA

|  |  | Bsdsnkj ds gLrk{kj eqgj lfgr |
| --- | --- | --- |

"PART-II"

Schedule of Quantity & Prices Against Tender No. 88 /EDCF/16-17 for the Supply of Operation Work of 33/11KV Sub-Stations & Maintanance Gang for Maintance Work of 33 KV, 11 KV, LT Lines, Power & Distribution Transformers, which ementing from 33/11KV Various Sub-Stations Under EDSD-IIIrd, Malwan in EDD-I, Fatehpur w.e.f. 01-04-17 to 31-03-18 (1 Year):-

Earnest Money Rs. - 14000.00                                                                      Date Of Opening:- 10-03-2017

| Sl. No. | # Particulars | No Of Worker | Rate Per Month (Rs.) | Amount (Rs.) |
| --- | --- | --- | --- | --- |
| A- | Operation Work of 33/11KV Sub-Stations |  |  |  |
|  | Operation of 33/11 KV Sub-stations, round the clock in 3 shifts of 8:00 hours each by a One Operator having minimum qualification of ITI (Electrician grade) and in each shifts for operation of Sub-station, equipments and maintenance of records as detailed in Technical specifications. (Operation of Substation means operating 33/11 KV Switchgears, Transformers & other equipments installed at the substation including keeping them in neat & clean condition. The operator shall also attend the telephone calls, note down the complaints received from public and will get it noted to the staff concerned for attending the same. The operator shall fill up the log book and other relevant substation registers. The operator will also be responsible for giving shutdowns and returning back shutdowns etc.) | 12 |  |  |
| B | Maintenance work of 33 Kv, 11 kv, L.T. Lines, Power and distribution Transformer, disconnection of Consumers cable Line emanating from points for which the so called Maintenance Gang having 1 skilled+ 2 Unskilled workers, will be engaged. |  | Rate Per worker (Rs.) | Amount (Rs.) |
|  | - No of Skilled Worker | 12 |  |  |
|  | - No of Unskilled Worker | 24 |  |  |

1½  Service Tax:-

2½  D.A. Variable:-

###### “krsZ& Bsdsnkj dks fuEufyf[kr “krksZ dk ikyu djuk vfuok;Z gksxk%&

- Bsdsnkj }kjk vius dkfeZdksa dks izfrekg U;wure etnwjh ,ao le; & le; ij ifjorZuh; eagxkbZ HkRrk ds vuqlkj deZpkjh Hkfo’; fuf/k dh dVkSrh ds mijkUr ns; osru dk Hkqxrku jsa[kkfdr pssd ds ek/;e ls djuk gksxkA

- miyC/k djk;s x;s dkfeZdksa dk deZpkjh lqj{kk chek ,ao nq?kZVuk chek djkuk gksxkA

- dkfeZdksa ds osru ls dkVh x;h Hkfo’; fuf/k ,ao fu;ksDrk dh fuf/k;ksa dk Hkqxrku deZpkjh Hkfo’; fuf/k laxBu dks lle; djuk gksxkA

- yscj ,DV ,ao le;&le; ij m0iz0 ikoj dkjiksjs”ku@iwokZaUpy fo|qr forj.k fuxe fy0 }kjk tkjh vkns”kksa dk vuqikyu lqfuf”pr djuk gksxkA

- Bsdsnkj }kjk ,sls dkfeZd dh vkiwfrZ dh tk;sxh ftUgsa iksy ij p<+us] ,p0Vh0 o ,y0Vh0 ykbu ds dk;Z dk Kku gksuk vko”;d gSA

- ifjpkyu ,oa vuqj{k.k xSax esa j[ks tkus okys izR;sd dkfeZdksa esa i<+us&fy[kus dh ;ksX;rk gksuh pkfg,A

- flD;ksfjVh@tekur /kujkf”k :0 6-00 yk[k vuqcU/k ds le; ,Q0Mh0vkj0@Vh0Mh0vkj0 ds :i es dk;Znk;h laLFkk dks **v/kh{k.k vfHk;URkk] fo?kqr forj.k e.My] Qrsgiqj** ds i{k es v?kksgLrk{kjh ds dk;Zky; es tek djuk vfuok;Z gksxkA

|  |  | Bsdsnkj ds gLrk{kj eqgj lfgr |
| --- | --- | --- |

"PART-II"

Schedule of Quantity & Prices Against Tender No. 89 /EDCF/16-17 for the Supply of Operation Work of 33/11KV Sub-Stations & Maintanance Gang for Maintance Work of 33 KV, 11 KV, LT Lines, Power & Distribution Transformers, which ementing from 33/11KV Various Sub-Stations Under EDSD-Ist, Bindki in EDD-II, Bindki w.e.f. 01-04-17 to 31-03-18 (1 Year):-

Earnest Money Rs. - 34000.00                                                                      Date Of Opening:- 10-03-2017

| Sl. No. | # Particulars | No Of Worker | Rate Per Month (Rs.) | Amount (Rs.) |
| --- | --- | --- | --- | --- |
| A- | Operation Work of 33/11KV Sub-Stations |  |  |  |
|  | Operation of 33/11 KV Sub-stations, round the clock in 3 shifts of 8:00 hours each by a One Operator having minimum qualification of ITI (Electrician grade) and in each shifts for operation of Sub-station, equipments and maintenance of records as detailed in Technical specifications. (Operation of Substation means operating 33/11 KV Switchgears, Transformers & other equipments installed at the substation including keeping them in neat & clean condition. The operator shall also attend the telephone calls, note down the complaints received from public and will get it noted to the staff concerned for attending the same. The operator shall fill up the log book and other relevant substation registers. The operator will also be responsible for giving shutdowns and returning back shutdowns etc.) | 30 |  |  |
| B | Maintenance work of 33 Kv, 11 kv, L.T. Lines, Power and distribution Transformer, disconnection of Consumers cable Line emanating from points for which the so called Maintenance Gang having 1 skilled+ 2 Unskilled workers, will be engaged. |  | Rate Per worker (Rs.) | Amount (Rs.) |
|  | - No of Skilled Worker | 30 |  |  |
|  | - No of Unskilled Worker | 60 |  |  |

1½  Service Tax:-

2½  D.A. Variable:-

###### “krsZ& Bsdsnkj dks fuEufyf[kr “krksZ dk ikyu djuk vfuok;Z gksxk%&

- Bsdsnkj }kjk vius dkfeZdksa dks izfrekg U;wure etnwjh ,ao le; & le; ij ifjorZuh; eagxkbZ HkRrk ds vuqlkj deZpkjh Hkfo’; fuf/k dh dVkSrh ds mijkUr ns; osru dk Hkqxrku jsa[kkfdr pssd ds ek/;e ls djuk gksxkA

- miyC/k djk;s x;s dkfeZdksa dk deZpkjh lqj{kk chek ,ao nq?kZVuk chek djkuk gksxkA

- dkfeZdksa ds osru ls dkVh x;h Hkfo’; fuf/k ,ao fu;ksDrk dh fuf/k;ksa dk Hkqxrku deZpkjh Hkfo’; fuf/k laxBu dks lle; djuk gksxkA

- yscj ,DV ,ao le;&le; ij m0iz0 ikoj dkjiksjs”ku@iwokZaUpy fo|qr forj.k fuxe fy0 }kjk tkjh vkns”kksa dk vuqikyu lqfuf”pr djuk gksxkA

- Bsdsnkj }kjk ,sls dkfeZd dh vkiwfrZ dh tk;sxh ftUgsa iksy ij p<+us] ,p0Vh0 o ,y0Vh0 ykbu ds dk;Z dk Kku gksuk vko”;d gSA

- ifjpkyu ,oa vuqj{k.k xSax esa j[ks tkus okys izR;sd dkfeZdksa esa i<+us&fy[kus dh ;ksX;rk gksuh pkfg,A

- flD;ksfjVh@tekur /kujkf”k :0 15-00 yk[k vuqcU/k ds le; ,Q0Mh0vkj0@Vh0Mh0vkj0 ds :i es dk;Znk;h laLFkk dks **v/kh{k.k vfHk;URkk] fo?kqr forj.k e.My] Qrsgiqj** ds i{k es v?kksgLrk{kjh ds dk;Zky; es tek djuk vfuok;Z gksxkA

|  |  | Bsdsnkj ds gLrk{kj eqgj lfgr |
| --- | --- | --- |

"PART-II"

Schedule of Quantity & Prices Against Tender No. 90 /EDCF/16-17 for the Supply of Operation Work of 33/11KV Sub-Stations & Maintanance Gang for Maintance Work of 33 KV, 11 KV, LT Lines, Power & Distribution Transformers, which ementing from 33/11KV Various Sub-Stations Under EDSD-IIst, Bindki Road in EDD-II, Bindki w.e.f. 01-04-17 to 31-03-18 (1 Year):-

Earnest Money Rs. - 17000.00                                                                      Date Of Opening:- 10-03-2017

| Sl. No. | # Particulars | No Of Worker | Rate Per Month (Rs.) | Amount (Rs.) |
| --- | --- | --- | --- | --- |
| A- | Operation Work of 33/11KV Sub-Stations |  |  |  |
|  | Operation of 33/11 KV Sub-stations, round the clock in 3 shifts of 8:00 hours each by a One Operator having minimum qualification of ITI (Electrician grade) and in each shifts for operation of Sub-station, equipments and maintenance of records as detailed in Technical specifications. (Operation of Substation means operating 33/11 KV Switchgears, Transformers & other equipments installed at the substation including keeping them in neat & clean condition. The operator shall also attend the telephone calls, note down the complaints received from public and will get it noted to the staff concerned for attending the same. The operator shall fill up the log book and other relevant substation registers. The operator will also be responsible for giving shutdowns and returning back shutdowns etc.) | 15 |  |  |
| B | Maintenance work of 33 Kv, 11 kv, L.T. Lines, Power and distribution Transformer, disconnection of Consumers cable Line emanating from points for which the so called Maintenance Gang having 1 skilled+ 2 Unskilled workers, will be engaged. |  | Rate Per worker (Rs.) | Amount (Rs.) |
|  | - No of Skilled Worker | 15 |  |  |
|  | - No of Unskilled Worker | 30 |  |  |

1½  Service Tax:-

2½  D.A. Variable:-

###### “krsZ& Bsdsnkj dks fuEufyf[kr “krksZ dk ikyu djuk vfuok;Z gksxk%&

- Bsdsnkj }kjk vius dkfeZdksa dks izfrekg U;wure etnwjh ,ao le; & le; ij ifjorZuh; eagxkbZ HkRrk ds vuqlkj deZpkjh Hkfo’; fuf/k dh dVkSrh ds mijkUr ns; osru dk Hkqxrku jsa[kkfdr pssd ds ek/;e ls djuk gksxkA

- miyC/k djk;s x;s dkfeZdksa dk deZpkjh lqj{kk chek ,ao nq?kZVuk chek djkuk gksxkA

- dkfeZdksa ds osru ls dkVh x;h Hkfo’; fuf/k ,ao fu;ksDrk dh fuf/k;ksa dk Hkqxrku deZpkjh Hkfo’; fuf/k laxBu dks lle; djuk gksxkA

- yscj ,DV ,ao le;&le; ij m0iz0 ikoj dkjiksjs”ku@iwokZaUpy fo|qr forj.k fuxe fy0 }kjk tkjh vkns”kksa dk vuqikyu lqfuf”pr djuk gksxkA

- Bsdsnkj }kjk ,sls dkfeZd dh vkiwfrZ dh tk;sxh ftUgsa iksy ij p<+us] ,p0Vh0 o ,y0Vh0 ykbu ds dk;Z dk Kku gksuk vko”;d gSA

- ifjpkyu ,oa vuqj{k.k xSax esa j[ks tkus okys izR;sd dkfeZdksa esa i<+us&fy[kus dh ;ksX;rk gksuh pkfg,A

- flD;ksfjVh@tekur /kujkf”k :0 7-00 yk[k vuqcU/k ds le; ,Q0Mh0vkj0@Vh0Mh0vkj0 ds :i es dk;Znk;h laLFkk dks **v/kh{k.k vfHk;URkk] fo?kqr forj.k e.My] Qrsgiqj** ds i{k es v?kksgLrk{kjh ds dk;Zky; es tek djuk vfuok;Z gksxkA

|  |  | Bsdsnkj ds gLrk{kj eqgj lfgr |
| --- | --- | --- |

"PART-II"

Schedule of Quantity & Prices Against Tender No. 91 /EDCF/16-17 for the Supply of Operation Work of 33/11KV Sub-Stations & Maintanance Gang for Maintance Work of 33 KV, 11 KV, LT Lines, Power & Distribution Transformers, which ementing from 33/11KV Various Sub-Stations Under EDSD-Ist, Khaga in EDD-III, Kahaga w.e.f. 01-04-17 to 31-03-18 (1 Year):-

Earnest Money Rs. - 28000.00                                                                      Date Of Opening:- 10-03-2017

| Sl. No. | # Particulars | No Of Worker | Rate Per Month (Rs.) | Amount (Rs.) |
| --- | --- | --- | --- | --- |
| A- | Operation Work of 33/11KV Sub-Stations |  |  |  |
|  | Operation of 33/11 KV Sub-stations, round the clock in 3 shifts of 8:00 hours each by a One Operator having minimum qualification of ITI (Electrician grade) and in each shifts for operation of Sub-station, equipments and maintenance of records as detailed in Technical specifications. (Operation of Substation means operating 33/11 KV Switchgears, Transformers & other equipments installed at the substation including keeping them in neat & clean condition. The operator shall also attend the telephone calls, note down the complaints received from public and will get it noted to the staff concerned for attending the same. The operator shall fill up the log book and other relevant substation registers. The operator will also be responsible for giving shutdowns and returning back shutdowns etc.) | 24 |  |  |
| B | Maintenance work of 33 Kv, 11 kv, L.T. Lines, Power and distribution Transformer, disconnection of Consumers cable Line emanating from points for which the so called Maintenance Gang having 1 skilled+ 2 Unskilled workers, will be engaged. |  | Rate Per worker (Rs.) | Amount (Rs.) |
|  | - No of Skilled Worker | 24 |  |  |
|  | - No of Unskilled Worker | 48 |  |  |

1½  Service Tax:-

2½  D.A. Variable:-

###### “krsZ& Bsdsnkj dks fuEufyf[kr “krksZ dk ikyu djuk vfuok;Z gksxk%&

- Bsdsnkj }kjk vius dkfeZdksa dks izfrekg U;wure etnwjh ,ao le; & le; ij ifjorZuh; eagxkbZ HkRrk ds vuqlkj deZpkjh Hkfo’; fuf/k dh dVkSrh ds mijkUr ns; osru dk Hkqxrku jsa[kkfdr pssd ds ek/;e ls djuk gksxkA

- miyC/k djk;s x;s dkfeZdksa dk deZpkjh lqj{kk chek ,ao nq?kZVuk chek djkuk gksxkA

- dkfeZdksa ds osru ls dkVh x;h Hkfo’; fuf/k ,ao fu;ksDrk dh fuf/k;ksa dk Hkqxrku deZpkjh Hkfo’; fuf/k laxBu dks lle; djuk gksxkA

- yscj ,DV ,ao le;&le; ij m0iz0 ikoj dkjiksjs”ku@iwokZaUpy fo|qr forj.k fuxe fy0 }kjk tkjh vkns”kksa dk vuqikyu lqfuf”pr djuk gksxkA

- Bsdsnkj }kjk ,sls dkfeZd dh vkiwfrZ dh tk;sxh ftUgsa iksy ij p<+us] ,p0Vh0 o ,y0Vh0 ykbu ds dk;Z dk Kku gksuk vko”;d gSA

- ifjpkyu ,oa vuqj{k.k xSax esa j[ks tkus okys izR;sd dkfeZdksa esa i<+us&fy[kus dh ;ksX;rk gksuh pkfg,A

- flD;ksfjVh@tekur /kujkf”k :0 12-00 yk[k vuqcU/k ds le; ,Q0Mh0vkj0@Vh0Mh0vkj0 ds :i es dk;Znk;h laLFkk dks **v/kh{k.k vfHk;URkk] fo?kqr forj.k e.My] Qrsgiqj** ds i{k es v?kksgLrk{kjh ds dk;Zky; es tek djuk vfuok;Z gksxkA

|  |  | Bsdsnkj ds gLrk{kj eqgj lfgr |
| --- | --- | --- |

"PART-II"

Schedule of Quantity & Prices Against Tender No. 92 /EDCF/16-17 for the Supply of Operation Work of 33/11KV Sub-Stations & Maintanance Gang for Maintance Work of 33 KV, 11 KV, LT Lines, Power & Distribution Transformers, which ementing from 33/11KV Various Sub-Stations Under EDSD-IInd, Ashother in EDD-III, khaga w.e.f. 01-04-17 to 31-03-18 (1 Year):-

Earnest Money Rs. - 24000.00                                                                      Date Of Opening:- 10-03-2017

| Sl. No. | # Particulars | No Of Worker | Rate Per Month (Rs.) | Amount (Rs.) |
| --- | --- | --- | --- | --- |
| A- | Operation Work of 33/11KV Sub-Stations |  |  |  |
|  | Operation of 33/11 KV Sub-stations, round the clock in 3 shifts of 8:00 hours each by a One Operator having minimum qualification of ITI (Electrician grade) and in each shifts for operation of Sub-station, equipments and maintenance of records as detailed in Technical specifications. (Operation of Substation means operating 33/11 KV Switchgears, Transformers & other equipments installed at the substation including keeping them in neat & clean condition. The operator shall also attend the telephone calls, note down the complaints received from public and will get it noted to the staff concerned for attending the same. The operator shall fill up the log book and other relevant substation registers. The operator will also be responsible for giving shutdowns and returning back shutdowns etc.) | 21 |  |  |
| B | Maintenance work of 33 Kv, 11 kv, L.T. Lines, Power and distribution Transformer, disconnection of Consumers cable Line emanating from points for which the so called Maintenance Gang having 1 skilled+ 2 Unskilled workers, will be engaged. |  | Rate Per worker (Rs.) | Amount (Rs.) |
|  | - No of Skilled Worker | 20 |  |  |
|  | - No of Unskilled Worker | 40 |  |  |

1½  Service Tax:-

2½  D.A. Variable:-

###### “krsZ& Bsdsnkj dks fuEufyf[kr “krksZ dk ikyu djuk vfuok;Z gksxk%&

- Bsdsnkj }kjk vius dkfeZdksa dks izfrekg U;wure etnwjh ,ao le; & le; ij ifjorZuh; eagxkbZ HkRrk ds vuqlkj deZpkjh Hkfo’; fuf/k dh dVkSrh ds mijkUr ns; osru dk Hkqxrku jsa[kkfdr pssd ds ek/;e ls djuk gksxkA

- miyC/k djk;s x;s dkfeZdksa dk deZpkjh lqj{kk chek ,ao nq?kZVuk chek djkuk gksxkA

- dkfeZdksa ds osru ls dkVh x;h Hkfo’; fuf/k ,ao fu;ksDrk dh fuf/k;ksa dk Hkqxrku deZpkjh Hkfo’; fuf/k laxBu dks lle; djuk gksxkA

- yscj ,DV ,ao le;&le; ij m0iz0 ikoj dkjiksjs”ku@iwokZaUpy fo|qr forj.k fuxe fy0 }kjk tkjh vkns”kksa dk vuqikyu lqfuf”pr djuk gksxkA

- Bsdsnkj }kjk ,sls dkfeZd dh vkiwfrZ dh tk;sxh ftUgsa iksy ij p<+us] ,p0Vh0 o ,y0Vh0 ykbu ds dk;Z dk Kku gksuk vko”;d gSA

- ifjpkyu ,oa vuqj{k.k xSax esa j[ks tkus okys izR;sd dkfeZdksa esa i<+us&fy[kus dh ;ksX;rk gksuh pkfg,A

- flD;ksfjVh@tekur /kujkf”k :0 10-00 yk[k vuqcU/k ds le; ,Q0Mh0vkj0@Vh0Mh0vkj0 ds :i es dk;Znk;h laLFkk dks **v/kh{k.k vfHk;URkk] fo?kqr forj.k e.My] Qrsgiqj** ds i{k es v?kksgLrk{kjh ds dk;Zky; es tek djuk vfuok;Z gksxkA

|  |  | Bsdsnkj ds gLrk{kj eqgj lfgr |
| --- | --- | --- |