TENDER FORM

Tender No.  24/EDCP /2016-17

Cost of tender: 500+75=575

From deposited

Vide receipt No………...…........ Dt

From,

# Superintending Engineer

# Electricity Distribution Circle

Pratapgarh

To,

M/s  …………………

…………………

…………………

Dear Sirs,

Please find enclosed herewith a set of tender form issued to you for the supply/execution of work against tender specification number referred above.

The tender form contains the following enclosures in duplicate. One set may be retained with you and the other set should be submitted along with your tender bid.

1-      Tender specification and condition of work.

2-      Special condition of contract.

3-      Tender Proforma.

4-      Schedule of prices to form Part-II of the tender bid.

Further it is to notify that: -

(i)    Date of receipt of sealed envelopes clearly marked

Tender Form Part-I and Part-II is 03.09.2016 at 14.00 pm

(ii)    Date of opening of Tender Part-I is 03.09.2016 at 15.00 pm

(iii)    Date of opening of Tender Part-II is 03.09.2016 at 15.00pm

Encl:- As above.

Your’s Faithfully,

(ASHWANI KUMAR)

SUPERINTENDING ENGINEER

INSTRUCTIONS TO TENDERERS

- Tender should be submitted in sealed cover on the specified date and time in the office of the undersigned in the specified manner, complete with all documents, sealed samples, earnest money in the desired form. If the pre qualifying conditions of the tender are not found to be filled on opening of tender bid Part-1 then the tender bid Part-2 shall not be opened.

2-  The Tenderers  are required  to submit price schedule and its appendices  duly

filled in item by item as required to facilitate the Purchaser to prepare

comparative statements. Failing to do so may prevent the tender from being considered.

- Validity of the tender dates should not be less than 90 days from the opening

of the tender .

- The quoted prices should be firm and firm in all respect.

- Tenderers should submit the latest copy of Income Tax Return Certificate and Photostate Certificate copy of ‘A’ Class contractor with the tender in prat-I

- In case the due date of tender opening is holiday, the tender will be opened on next working day.

- The contractor shall be obliged to discharge his liabilities under the contract most diligently and efficiently. In case he fails to do so, the Purchaser shall be free to take decision in this regard, including assigning the work to some other person or agency debit able to the contractor.

- Tenders received after the schedule date and time shall be rejected and returned without opening.

- The Engineer of Contract does not pledge to accept the lowest or any tender and deserves to himself the right to accept the whole or any portion of the tender as he may think fit without assigning any reason for acceptance or rejection thereof.

- All disputes arising out of and touching or relating to the subject matter of agreement shall be subject to the jurisdiction of local court of Allahabad and Hon’ble High Court at Lucknow.

- Once the tender is submitted no subsequent correspondence will be entertained.

- The following documents should be enclosed with Tender Bid Part-I envelope, failing which Bid Part-II envelope shall not be opened and tender will not be considered any further.

  - Earnest money of Rupees 20000.00 duly pledged in favor of E.E., E.D.D.-II Pratapgarh in form of FDR, CDR,  TDR, D.D.

- The Contractor will have no claim to ask for the reason from the Engineer of Contract, If his tender bid part-II is not opened. In such case tender Bid part-II shall remain sealed and kept in the office file of will be returned to the contractor, on his written request after finalization of the contract.

- Conditional tenders will not be accepted.

- The undersigned reserves the right to reject/accept any of the tenders with of without assigning any reason thereof.

SIGNATURE OF                                            SIGNATURE OF

TENDERER                                                       ENGINEER

| TENDER PROFORMA |  |  |
| --- | --- | --- |
| Sl. No. | Particulars. | To be filled in by the tenderer |
| 1 | Tender Specification No. |  |
| 2 | Receipt No. & Date by which Cost of tender Specification deposited. |  |
| 3 | Name and address of the tenderer |  |
| 4 | Year since the manufacture and supply work has been started. |  |
| 5 | Quantity offered(if there are two or more items, state the quantity offered separately) |  |
| 6 | Details of earnest money deposited (Earnest money should be in favor of Superintending Engineer, Electy. Distribution Circle-II, Allahabad in form of NSC/FDR/CDR/Bank Drafts) |  |
| 7 | Do you agree with all the conditions of tender specification ,if not state the deviations you desire from the general conditions Form B/A |  |
| 8 | Give the reference of two scheduled banks in India, who can certify your financial status. |  |
| 9 | Statement of past/current similar supplies /work |  |
| 10 | Mention validity period of your tender. |  |
| 11 | Whether the quoted price offered is firm and firm in all respect |  |
| 12 | State whether the quoted prices are inclusive/exclusive of Trade Tax. |  |
| 13 | Have you read the instructions given in general conditions of the tender and agree to the same. |  |
| 14 | Please enclose attested photo copy of latest Income tax clearance certificate. |  |
| 15 | Have you filled in and completed schedule of quantity and prices. |  |
| 16 | Have you read the schedule of technical particulars |  |
| Place: Signature of tenderer |  |  |
|  |  | with seal. |
| Date: |  |  |
| Note: Tenderers are required to fill up above tender proforma. |  |  |

# TERM AND CONDITIONS

# The work shall be carried out in accordance as per RESPO manual/standard specification and working practice of U.P. Power Corporation Limited and as per I.E. Rules. Contractor can consult RESPO construction manual on any working hours.

# The work shall be carried out in accordance with standard specification and as per I.E. Rules.

# The Contractor shall take extreme and full care during erection of line to avoid all possible accident and U.P. Power Corporation Ltd. will not be liable to pay any sort of compensation arising out of any accident.

# Materials:- All men, materials and T&P will be arranged by the Contractor.

# All charges on account of damage, loss or expenses involved under condition, laid above shall be brone by the Contractor and if paid by the Corporation, the same shall be recovered from the Contractor.

# If the Contractor with draw their offer his Earnest Money shall be forfeited by the Corporation.

# TOOLS AND PLANTS:

# The Contractor shall arrange all the Tools and Equipment required for the work by them at their own cost.

# COMPLETION PERIOD OF WORK:

# The entire erection is to be completed in all respect within 30 days from the date of issue of order/agreement or Receipt of materials.

# RATES:

# The rates accepted shall remain firm through out the period of agreement.

# 10. PENALTY FOR DELAY IN COMPLETION:

# ½% Per week of the total cost of work will be charged subject to maximum 10%

# on the total value of work, If the Contractor fails to complete the work within stipulated time. Also if necessary the work will be carried out by other agency which have agreement of similar work and agreement amount of defaulter shall be deducted automatically.

# 11. PAYMENT:

# 100% Payment released by EE,EDD-I Pratapgarh after satisfactory completion of  work from Vyapar Vikas Nidhi 2015-16

# 12. SECURITY MONEY:

# The earnest money deposited by the contractor shall be converted into security

# deposit for above tender. The balance of security amount shall be deducted from contractor amount @ 10% of value till. The security deposit shall be released to the contractor after six month from the date of satisfactory completion of work.

# 13. SPECIAL CONDITIONS OF CONTRACT:

# These above conditions shall be read & construed along with the General Conditions in 	Standard Form ‘A’ annexed but in case there shall be any conflict and inconsistency		 between these special conditions & of form ‘A’ these conditions shall prevail.

# 14. 	TAXES :

# Service Tax and any other taxes, which are legally applicable,  shall be paid extra.

# 15. VARIATION:

# The quantity may vary 10% on either side as per site requirement with the

# written order of the Executive Engineer, EDD-I Pratapgarh after getting approval from appropriate authority.

# 16. The work shall be carried out under the super vision of concerned Junior 	Engineer/S.D.O. under EDD-I  Pratapgarh

# SUPERINTENDING ENGINEER

E.D.C.- PRATAPGARH

| OFFICE OF THE. SUPERINTENDING ENGINEER. ELECTRICITY DISTRIBUTION CIRCLE PRATAPGARH. AGAINST SHORT TERM TENDER NO. 24/EDCP/2016-17. S.N.; Name of work; Unit; Qty; Rate (Rs.); Amount (Rs.). Following deposit work are to be carried out along with the carriage, loading/unloading of materials from Chilbila Store to site of work under the jurisdiction of EDD I PRATAPGARH. 1; Erection of supports 9/10/11/13 mtr. long including flouting with cement sand and brick ballast in 1:4:8 upto 1/6th length of the support.. (i); Steel tubular pole 9-11 mtrs.; Nos.; 25. 2; Cutting, fabrication, fixing and mounting of following accessories along with pin, pin insulator and ‘F’ Clamp as per enclosed drawing. (i); 11 KV 'V' Type X-arm along guarding angle/channels.; Jobs; 18. 3; Erection of Double Pole supports 9/10/11/13 Mtr. long including grouting with cement, sand and brick ballast in ratio 1:4:8 upto 1/6th length of the support with channel angle fitting.. (i); Steel Tubular Pole /PCC/R.S joist 9/10/11/13 mtr long.; Nos.; 1. 4; Fixing and grouting of stay rod with cement, sand and bricks ballast in ratio 1:4:8 and fastening the stay wire with pole and stay rod nuzzling as per Urban construction Drg No. DD SO-31.; Nos.; 9. 5; Earthing of support complete with the help of M.S. rod 20 mm dia, 2.5 mtr. long and fastening of G.I. wire with clamps/X-arm/support to M.S. earth rod as per Drg. No DD SO 27 complete in all respects.; Nos.; 27. 6; Making plinth of support of size 0.45x0.45x3 cement, sand and brick ballast in ration 1:4:8 and 12 mm thick plastering around the plinth in ratio 1:4 with 12 mm thickness curing of plinth should be done properly.; Nos.; 27. 7; Cutting of tree branches all along the route of 11 KV, LT, line, which may obstruct the line.. (i); Small tree branches.; Nos.; 20. (ii); Big strems of tree; Nos.; 10. 8; Opening of service line/cable to facilitate the lying of conductor / cable for making new line and after completion of work re-connecting the service line/service cable.; Nos.; 100. 9; Cutting and fabrications of double pole fittings for 11/0.4 KV LT S/s with MS channel and angle for top channel GO, DO fittings, T/F base channels ladder support, rail top etc. Mounting and fixing of above fitting on D/P on with clamp and “U” bolt.; Nos.; 1. 10; Mounting and fixing of 11 KV Gang operating switch/ DO fuse set on F/P/Double Pole adjustment of GO with operating Rod., Pile and handle complete in all espects including jumpering work.. (i); Gang Operating switch; Nos.; 1. (ii); DO Fuse set; Nos.; 1. 11; Safe loading, Carriage and placement of 11/0.4 KV transformer and its proper fastening of double pole with the help of Angle/ Clamps.. (ii); 100 KVA; Nos.; 1. 12; Complete earthing of meutral and body of Transformer, F.P. Structure LT Cubical Box boring/lowering process of GI Pipe 50 mm dia for a length of 3 Meter also with MS earthing Rod 20 mm dia 2.5 Mtr. long and connecting electrodes with GI Pipe to equipment.. (i); With 3 Mtr. GI Pipe.; Nos.; 1. (ii); With MS earthing Rod.; Nos.; 1. 13; Laying of 11 KV 50/70/120/185/300 sq. mm. HT cable including raising the both ends connecting with line/ Sub-station after digging cable trench 0.9 M. deep, making of brick channel, filling the channel with sand after laying the cable, filling trench complete work.; Mtrs; 40. 14; Hanging of 11 KV 70/120/185 sqmm. XLPE/PILCA cable after drawing stay wire between the support with help of Turn Buckle. Cable, will rest on hooks built of C.I. wire, proper fastening of cable complete work.; Mtrs.; 1380. 15; Construction of 11/0.4 KV Transformer plinth in size 1.5x1.5x 1.8 mtr. Height, including 0.6 mtr. below G.l. in bottom 1:4:8 cement sand and brick ballast; concreting upto 15 cm. thickness after ramming should be done. Thickness of 1st class brick work should be 0.35 mtr. below G.L. and above G.L. It should be 0.23 mtr. brick work bill be done with 1:4 cement, sand mortar, The space between the four walls should be filled with sand by ramming and watering keeping a space of 0.15 mtr on lop for 1:2:4 cement stone ballast and sand concreting. The two channels should be grouted as per direction of site in charge. All the sides of wall above G, L. should be plastered by 1:6 cement sand mortar having 12 mm thickness.; Job; 1. 16; Jointing of 11 KV cable box with cable and connecting the same with line/switchgear.. (i); 11 KV 50/70/120/300 sq. mm. outdoor, indoor.; Nos.; 12. 17; Cutting fabricating fixing and mounting of MS Channel/angle fitting support for holding 11 Kv outdoor joint box.; Nos.; 8. 18; Hoisting of 11 KV 3x185 sq mm XLPE cable providing GI pipe of size 6” dia 3 M long on single/double pole including its jumpering, complete with clamps, nut & bolts.; no; 2. 19; Carefully & safely shifting of 11 KV switch gears from outside to inside the switch gear room, grouting of foundation bolts in C.C. ratio of 1:2:4 (including cutting of RCC floor and finishing of RCC floor) as per requirement placing, aligning and fixing of 11 KV anchorGI bolts and nuts of proper size for completion of work & Dismantling old OCB/VCB & carriage of OCB/VCB from Substation (Dahilamau) to Chilbila store.; Job; 1. Total. “krsZ%& - dk;Z ,d ;k dbZ QeksZa dks vkoafVr fd;k tk ldrk gSA - v/kksgLrk{kjdrkZ dks fcuk dkj.k crk;s fdlh Hkh fufonk dks vLohd`r djus dk vf/kdkj lqjf{kr gSA - QeZ dks ^,* Dykl dk fo¦qr ykblsal] tks fd fo¦qr lqj{kk ‘kklu m0iz0 esa iathÑr gks] dk /kkjd gksuk vko’;d gSA - fufonk izi= ij iSu uEcj dk vadu vko’;d gSA - l’krZ fufonk Lohdkj ugha dh tk;sxhA - fufonk ds [kqyus dh frfFk ij lkoZtfud vodk’k ;k vU; dkj.kksa ls dk;kZy; cUn gksus dh fLFkfr esa fufonk vxys fnu ftl fnu dk;kZy; [kqyk gksxk [kksyk tk;sxkA SIGNATURE OF TENDERER SUPERINTENDING ENGINEER ALONG WITH SEAL E.D.C.PRATAPGARH. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Bsdsnkj ds gLrk{kj |  |  | v/kh{k.k vfHk;Urk |  |